## Credits, worst circuits, storms
RELIABILITY DATA TEMPLATE
Utility: | Northern States Power Co. (Xcel) |  |  | □ Required Fields
Reporting Month: | 2023-03-31 |  |  | ■ Optional Fields
CUSTOMER CREDITS PROVIDED DURING THE MONTH
Item |  | Sector | Number of Customers Eligible for Credits | Total Customer Credits ($)
Customer Credits Provided for Failure to Restore Service within 96 Hours of the Start of Sustained Interruption during Catastrophic Conditions |  | Residential | 0 | 0
|  | Commercial | 0 | 0
|  | Industrial | 0 | 0
Customer Credits Provided for Failure to Restore Service within 48 Hours of the Start of Sustained Interruption during Gray Sky Conditions |  | Residential | 0 | 0
|  | Commercial | 0 | 0
|  | Industrial | 0 | 0
Customer Credits Provided for Failure to Restore Service within 16 Hours of the Start of Sustained Interruption during Normal Conditions |  | Residential | 0 | 0
|  | Commercial | 0 | 0
|  | Industrial | 0 | 0
Customer Credits Provided to Individual Customers Who Experienced 6 or more Sustained Interruptions. |  | Residential | 0 | 0
|  | Commercial | 0 | 0
|  | Industrial | 0 | 0
WORST PERFORMING CIRCUITS DURING THE MONTH AND YEAR
(1) For each electric utility with 1,000,000 or more customers, a list of its 10 worst performing circuits for the prior month in terms of SAIDI and SAIFI. For each listed circuit, provide the following information below.
(2) For each electric utility or cooperative with less than 1,000,000 customers, a list of the worst performing 1% of circuits for the prior month in terms of SAIDI and SAIFI. For each listed circuit, provide the following information below.
SAIDI
Item/Area
Circuit Name |  | IRW006
Circuit Number |  | 006
Circuit Length (miles) |  | 11.3963
SAIDI all weather (monthly) | Residential | 18.0279
| Commercial | 3.5967
| Industrial | 0
| Overall | 15.2693
SAIDI excluding MEDs (annual only) | Residential | 48.2348
| Commercial | 15.8508
| Industrial | 0
| Overall | 42.1858
Number of Customers Served | Residential | 788
| Commercial | 181
| Industrial | 0
Substation Name |  | Ironwood
Location of Circuit Span - Zip Codes |  | 49938
Location of Circuit Span - Census Tracts |  | 950500
Last Circuit Trim |  | 2021-08-26
List of Outages and Causes *** |  | Planned: 3/1(3), 3/2(2), 3/6(4), 3/8(3) Unknown: 3/15(2) Equipment Failure: 3/17
SAIFI
Item/Area
Circuit Name |  | IRW006
Circuit Number |  | 006
Circuit Length (miles) |  | 11.3963
SAIFI all weather (monthly) | Residential | 0.13325
| Commercial | 0.027624
| Industrial | 0
| Overall | 0.11455
SAIFI excluding MEDs (annual only) | Residential | 1.5083
| Commercial | 0.10497
| Industrial | 0
| Overall | 0.30134
Number of Customers Served | Residential | 793
| Commercial | 181
| Industrial | 0
Substation Name |  | Ironwood
Location of Circuit Span - Zip Codes |  | 49938
Location of Circuit Span - Census Tracts |  | 950500
Last Circuit Trim |  | 2021-08-26
List of Outages and Causes *** |  | Planned: 3/1(3), 3/2(2), 3/6(4), 3/8(3) Unknown: 3/15(2) Equipment Failure: 3/17
|  | CEMI0 | CEMI1 | CEMI2 | CEMI3 | CEMI4 | CEMI5 | CEMI6 | CEMI7 | CEMI8 | CEMI9 | CEMI10
Number of CEMI Reporting for Indices CEMI0 through CEMI10+ (number of customers, monthly) |  | 8791 | 145 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Number of CEMI Reporting for Indices CEMI0 through CEMI10+ (number of customers, year-to-date) |  | 8444 | 318 | 28 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Number of CELID Reporting for Indices: | CELID8hours | CEMI0: 0; CEMI1: Corrected: 5/25/23
| CELID24hours | CEMI0: 0; CEMI1: Corrected: 5/25/23
| CELID48hours | CEMI0: 0; CEMI1: Corrected: 5/25/23
Number of Non-Residential Customers Experiencing Momentary Interruptions
Storm Outage | Storm #1 | CEMI0: Storm #2; CEMI1: Storm #3; CEMI2: Storm #4; CEMI3: Storm #5
Storm Name
Date Storm Began
Date Storm Ended
Storm Type
Customers Interrupted (#)
Storm Duration (hours)
Duration of restoration efforts (hours)
Date restoration efforts ended
spent per event ($)
paid in outage credits ($)
Non-baseload resources requested (Y/N)
Company linemen used (#)
contractor workers used (#)
non-baseload workers used (#)
Company crews used (#)
Contractor crews used (#)
Non-baseload crews used (#)
Wire down personnel used (#)
Downed wires
Non-baseload resources cost ($)
N/A* Not Applicable, condition did not occur
N/A** Not Available; NSPW filed an application for a waiver of this reporting requirement on May 3, 2023 in Case No. U-21415
List of Outages and Causes *** NSPW is reporting the number of outage incidents and not individual customer outages. For example, a tree falls on a line and interrupts power to 50 customers. We record this as 1 outage due to vegetation, not 50 outages due to vegetation.

## 2-Circuit
RELIABILITY DATA TEMPLATE
| Utility: | Northern States Power Co. (Xcel) |  |  | □ Required Fields
| Reporting Month: | 2023-03-31 |  |  | ■ Optional Fields
RELIABILITY DATA REPORTED BY CIRCUIT
|  |  | Meter Reading Factor R460.732 (a) | New Service Installation Factor R460.732(b) | Wire Down Relief Factor R460.732 (c) |  | Outage Restoration |  |  |  | CEMI4 | Line Clearing/ Tree Trimming **** | [5 empty] | Total Customer outages*** | Outage Causes | [9 empty] | Reliability Metrics (all weather)
[7 empty] | All Conditions R460.732 (d) | Normal Conditions R460.732 (e) | Gray-Sky Conditions R460.732 (f) | Catastrophic Conditions R460.732 (g) | Sustained Interruptions R460.732 (h(i)) | [7 empty] | Equipment | Lightning | Planned | Power Supply | Public | Vegetation | Weather (other than lightning) | Wildlife | Unknown | Other | SAIDI | SAIFI | CAIDI | ASAI | MAIFI
| Circuit or Geographical Area | Circuit or Area Name | Meter Reading Factor (Percentage) | New Services Installed in 15 Business Days or Less (Percentage) | Number of Minutes until Police/Fire Guarded Downed Wires Reached in Metropolitan Statistical Areas | Number of Minutes until Police/Fire Guarded Downed Wires Reached in Non-Metropolitan Statistical Areas | Percentage of Customers Restored in 36 Hours or Less | Percentage of Customers Restored in 8 Hours or Less | Percentage of Customers Restored in 24 Hours or Less | Percentage of Customers Restored in 48 Hours or Less | Number of Customers Experiencing 4 or More Sustained Interruptions | Amount of Line Cleared (miles) | Capital Spend ($000) | O&M Spend ($000) | Quarterly Line Clearing Target (miles) **** | Quarterly Line Clearing Target (% of internal target met) | Cumulative Line Clearing Target (%) | Total Customer outages | Total number of outages causes by equipment failure | Total number of outages caused by lightning | Total number of planned and forced outages | Total number of outages caused by transmission or generation failure | Total number of outages caused by an act of the public at large | Total number of outages caused by trees | Total number of outage caused by weather | Total number of outages caued by animal interference | Total number of outages caused by unknonwn causes | Total number of outages caused by other causes | System Average Interruption Duration Index | System Average Interruption Frequency Index | Customer Average Interruption Duration Index (contribution to total CAIDI) | Average Service Availability Index | Momentary Average Interruption Duration Index
| Circuit | AYR021 |  |  | N/A* | N/A* | 100% | 100% | N/A* | N/A* | 0 | 0 |  |  | 0 | 100% | 100% | 0 | [10 empty] | 0 | 0 | 0 | 100% | N/A**
| Circuit | AYR022 |  |  | N/A* | N/A* | 100% | 100% | N/A* | N/A* | 0 | 0 |  |  | 0 | 100% | 100% | 0 | [10 empty] | 0 | 0 | 0 | 100% | N/A**
| Circuit | BES021 |  |  | N/A* | N/A* | 100% | 100% | N/A* | N/A* | 0 | 0 |  |  | 0 | 100% | 100% | 1 | [5 empty] | 1 |  |  |  |  | 0.61355 | 0.0093458 | 65.65 | 100% | N/A**
| Circuit | BES022 |  |  | N/A* | N/A* | 100% | 100% | N/A* | N/A* | 0 | 0 |  |  | 0 | 100% | 100% | 1 | 1 | [9 empty] | 0.10972 | 0.001992 | 55.08 | 100% | N/A**
| Circuit | BLD021 |  |  | N/A* | N/A* | 100% | 100% | N/A* | N/A* | 0 | 0 |  |  | 0 | 100% | 100% | 3 | [7 empty] | 2 | 1 |  | 0.56086 | 0.0046729 | 120.0233 | 100% | N/A**
| Circuit | BRA001 |  |  | N/A* | N/A* | 100% | 100% | N/A* | N/A* | 0 | 0 |  |  | 0 | 100% | 100% | 0 | [10 empty] | 0 | 0 | 0 | 100% | N/A**
| Circuit | GLA021 |  |  | N/A* | N/A* | 100% | 100% | N/A* | N/A* | 0 | 0 |  |  | 0 | 100% | 100% | 0 | [10 empty] | 0 | 0 | 0 | 100% | N/A**
| Circuit | GOG001 |  |  | N/A* | N/A* | 100% | 100% | N/A* | N/A* | 0 | 0 |  |  | 0 | 100% | 100% | 0 | [10 empty] | 0 | 0 | 0 | 100% | N/A**
| Circuit | HGN021 |  |  | N/A* | N/A* | 100% | 100% | N/A* | N/A* | 0 | 0 |  |  | 0 | 100% | 100% | 0 | [10 empty] | 0 | 0 | 0 | 100% | N/A**
| Circuit | HUR022 |  |  | N/A* | N/A* | 100% | 100% | N/A* | N/A* | 0 | 0 |  |  | 0 | 100% | 100% | 0 | [10 empty] | 0 | 0 | 0 | 100% | N/A**
| Circuit | IHD021 |  |  | N/A* | N/A* | 100% | 100% | N/A* | N/A* | 0 | 0 |  |  | 0 | 100% | 100% | 0 | [10 empty] | 0 | 0 | 0 | 100% | N/A**
| Circuit | IRP001 |  |  | N/A* | N/A* | 100% | 100% | N/A* | N/A* | 0 | 0 |  |  | 0 | 100% | 100% | 0 | [10 empty] | 0 | 0 | 0 | 100% | N/A**
| Circuit | IRW001 |  |  | N/A* | N/A* | 100% | 100% | N/A* | N/A* | 0 | 0 |  |  | 0 | 100% | 100% | 2 |  |  | 2 | [7 empty] | 3.0136 | 0.027211 | 110.75 | 99.99% | N/A**
| Circuit | IRW004 |  |  | N/A* | N/A* | 100% | 100% | N/A* | N/A* | 0 | 0 |  |  | 0 | 100% | 100% | 1 | [6 empty] | 1 |  |  |  | 0.3645 | 0.0034904 | 104.43 | 100% | N/A**
| Circuit | IRW005 |  |  | N/A* | N/A* | 100% | 100% | N/A* | N/A* | 0 | 0 |  |  | 0 | 100% | 100% | 0 | [10 empty] | 0 | 0 | 0 | 100% | N/A**
1 | Circuit | IRW006 |  |  | N/A* | N/A* | 100% | 100% | N/A* | N/A* | 0 | 0 |  |  | 0 | 100% | 100% | 15 | 1 |  | 12 | [5 empty] | 2 |  | 15.3383 | 0.11408 | 134.4516 | 99.97% | N/A**
| Circuit | JKS021 |  |  | N/A* | N/A* | 100% | 100% | N/A* | N/A* | 0 | 0 |  |  | 0 | 100% | 100% | 0 | [10 empty] | 0 | 0 | 0 | 100% | N/A**
| Circuit | MCO021 |  |  | N/A* | N/A* | 100% | 100% | N/A* | N/A* | 0 | 0 |  |  | 0 | 100% | 100% | 1 | [7 empty] | 1 |  |  | 0.49372 | 0.0025126 | 196.5 | 100% | N/A**
| Circuit | MCO022 |  |  | N/A* | N/A* | 100% | 100% | N/A* | N/A* | 0 | 0 |  |  | 0 | 100% | 100% | 1 |  | 1 | [8 empty] | 5.703 | 0.054795 | 104.08 | 99.99% | N/A**
| Circuit | MEY021 |  |  | N/A* | N/A* | 100% | 100% | N/A* | N/A* | 0 | 0 |  |  | 0 | 100% | 100% | 0 | [10 empty] | 0 | 0 | 0 | 100% | N/A**
| Circuit | NSI001 |  |  | N/A* | 100% | 100% | 100% | N/A* | N/A* | 0 | 0 |  |  | 0 | 100% | 100% | 0 | [10 empty] | 0 | 0 | 0 | 100% | N/A**
| Circuit | OJB021 |  |  | N/A* | N/A* | 100% | 100% | N/A* | N/A* | 0 | 0 |  |  | 0 | 100% | 100% | 0 | [10 empty] | 0 | 0 | 0 | 100% | N/A**
| Circuit | PKR061 |  |  | N/A* | N/A* | 100% | 100% | N/A* | N/A* | 0 | 0 |  |  | 0 | 100% | 100% | 1 | 1 | [9 empty] | 1.5393 | 0.019841 | 77.58 | 100% | N/A**
| Circuit | PSI020 |  |  | N/A* | N/A* | 100% | 100% | N/A* | N/A* | 0 | 0 |  |  | 0 | 100% | 100% | 0 | [10 empty] | 0 | 0 | 0 | 100% | N/A**
| Circuit | SUP021 |  |  | N/A* | N/A* | 100% | 100% | N/A* | N/A* | 0 | 0 |  |  | 0 | 100% | 100% | 1 | 1 | [9 empty] | 1.0264 | 0.01227 | 83.65 | 100% | N/A**
| Circuit | TWN021 |  |  | N/A* | N/A* | 100% | 100% | N/A* | N/A* | 0 | 0 |  |  | 0 | 100% | 100% | 1 | [7 empty] | 1 |  |  | 0.098275 | 0.0015267 | 64.37 | 100% | N/A**
| Circuit | TWN022 |  |  | N/A* | N/A* | 100% | 100% | N/A* | N/A* | 0 | 0 |  |  | 0 | 100% | 100% | 0 | [10 empty] | 0 | 0 | 0 | 100% | N/A**
| Circuit | WDB001 |  |  | N/A* | N/A* | 100% | 100% | N/A* | N/A* | 0 | 0 |  |  | 0 | 100% | 100% | 0 | [10 empty] | 0 | 0 | 0 | 100% | N/A**
| All circuits or areas (month) |  | 98.65% | N/A* | N/A* | N/A* | 100% | 100% | N/A* | N/A* | 0 | 0 | 0 | 0 | 0 | 100% | 100% | 28 | 4 | 1 | 14 | 0 | 0 | 1 | 1 | 4 | 3 | 0 | 2.0922 | 0.017004 | 123.0401 | 100% | N/A**
| All circuits or areas (year to date) |  | 98.8% | N/A* | N/A* | 75% | 100% | 100% | N/A* | N/A* | 0 | 0 | 0 | 0 | 0 | 100% | 100% | 78 | 4 | 1 | 58 | 0 | 0 | 2 | 1 | 7 | 3 | 2 | 5.8931 | 0.042287 | 139.3599 | 100% | N/A**
| MPSC Annual Performance Standard |  | 95% or more | 90% or more completed within 15 business days | 90% or more within 120 minutes in MSAs | 90% or more within 180 minutes in non-MSAs | 90% or more customers restored in 36 hours or less | 90% or more customers restored in 8 hours or less | 90% or more customers restored in 24 hours or less | 90% or more customers restored in 48 hours or less | 6% or less before 2030; 5% or less in 2030 or later |  |  |  | **** 2023 Line Clearing Target: Circuit IHD021 = 26.57 mi; planned for Q2-Q3 Circuit JKS021 = 0.02 mi; planned for Q2 Circuit OJB021 = 1.19 mi; planned for Q2 |  |  | *** NSPW is reporting the number of outage incidents and not individual customer outages. For example, a tree falls on a line and interrupts power to 50 customers. We record this as 1 outage due to vegetation, not 50 outages due to vegetation. | [14 empty] | N/A** Not Available; NSPW filed an application for a waiver of this reporting requirement on May 3, 2023 in Case No. U-21415
|  |  |  | N/A* Not Applicable, no requests for service were received and/or installed | N/A* Not Applicable, condition did not occur. NSPW does not serve any metropolitan areas in MI | Total # of Police/Fire Guarding Incidents: Jan = 1 (512 min to travel to and repair. Unknown when police/fire relieved of standby duties.) Feb = 2 (41 min, 107 min) Mar = 1 (43 min) |  |  | N/A* Not Applicable, condition did not occur

## 3-Zip Code
RELIABILITY DATA TEMPLATE
Utility: | Northern States Power Co. (Xcel) |  |  | □ Required Fields
Reporting Month: | 2023-03-31 |  |  | ■ Optional Fields
RELIABILITY DATA REPORTED BY ZIP CODE
| Meter Reading Factor R460.732 (a) | New Service Installation Factor R460.732(b) | Wire Down Relief Factor R460.732 (c) |  | Outage Restoration |  |  |  | CEMI4 | Line Clearing/ Tree Trimming | [5 empty] | Total Customer outages*** | Outage Causes | [9 empty] | Reliability Metrics (all weather)
[5 empty] | All Conditions R460.732 (d) | Normal Conditions R460.732 (e) | Gray-Sky Conditions R460.732 (f) | Catastrophic Conditions R460.732 (g) | Sustained Interruptions R460.732 (h(i)) | [7 empty] | Equipment | Lightning | Planned | Power Supply | Public | Vegetation | Weather (other than lightning) | Wildlife | Unknown | Other | SAIDI | SAIFI | CAIDI | ASAI | MAIFI
Zip Code | Meter Reading Factor (Percentage) | New Services Installed in 15 Business Days or Less (Percentage) | Number of Minutes until Police/Fire Guarded Downed Wires Reached in Metropolitan Statistical Areas | Number of Minutes until Police/Fire Guarded Downed Wires Reached in Non-Metropolitan Statistical Areas | Percentage of Customers Restored in 36 Hours or Less | Percentage of Customers Restored in 8 Hours or Less | Percentage of Customers Restored in 24 Hours or Less | Percentage of Customers Restored in 48 Hours or Less | Number of Customers Experiencing 4 or More Sustained Interruptions | Amount of Line Cleared (miles) | Capital Spend ($000) | O&M Spend ($000) | Quarterly Line Clearing Target (miles) | Quarterly Line Clearing Target (% of internal target met) | Cumulative Line Clearing Target (%) | Total Customer outages | Total number of outages causes by equipment failure | Total number of outages caused by lightning | Total number of planned and forced outages | Total number of outages caused by transmission or generation failure | Total number of outages caused by an act of the public at large | Total number of outages caused by trees | Total number of outage caused by weather | Total number of outages caued by animal interference | Total number of outages caused by unknown causes | Total number of outages caused by other causes | System Average Interruption Duration Index | System Average Interruption Frequency Index | Customer Average Interruption Duration Index (contribution to total CAIDI) | Average Service Availability Index | Momentary Average Interruption Duration Index
49910 |  |  |  |  | 100% | 100% | N/A* | N/A* | 0 | [6 empty] | 3 | [7 empty] | 2 | 1 |  | 0.76383 | 0.006383 | 119.6667 | 100% | N/A**
49911 |  |  |  |  | 100% | 100% | N/A* | N/A* | 0 | [6 empty] | 2 | 1 |  |  |  |  | 1 |  |  |  |  | 0.36029 | 0.0057024 | 63.1818 | 100% | N/A**
49938 |  |  |  |  | 100% | 100% | N/A* | N/A* | 0 | [6 empty] | 21 | 3 |  | 14 |  |  |  | 1 | 1 | 2 |  | 3.2486 | 0.024985 | 130.0242 | 99.99% | N/A**
49947 |  |  |  |  | 100% | 100% | N/A* | N/A* | 0 | [6 empty] | 2 |  | 1 | [5 empty] | 1 |  |  | 1.6298 | 0.014673 | 111.0769 | 100% | N/A**
49959 |  |  |  |  | 100% | 100% | N/A* | N/A* | 0 | [6 empty] | 0 | [10 empty] | 0 | 0 | 0 | 100% | N/A**
49967 |  |  |  |  | 100% | 100% | N/A* | N/A* | 0 | [6 empty] | 0 | [10 empty] | 0 | 0 | 0 | 100% | N/A**
49968 |  |  |  |  | 100% | 100% | N/A* | N/A* | 0 | [6 empty] | 0 | [10 empty] | 0 | 0 | 0 | 100% | N/A**
All zip codes (month) |  |  |  |  | 100% | 100% | N/A* | N/A* | 0 | [6 empty] | 28 | 4 | 1 | 14 | 0 | 0 | 1 | 1 | 4 | 3 | 0 | 2.0831 | 0.016892 | 123.3179 | 100% | N/A**
All zip codes (year to date) |  |  |  |  | 100% | 100% | N/A* | N/A* | 0 | [6 empty] | 78 | 4 | 1 | 58 | 0 | 0 | 1 | 1 | 7 | 4 | 2 | 5.8801 | 0.042175 | 139.4218 | 100% | N/A**
MPSC Annual Performance Standard | 95% or more | 90% or more completed within 15 business days | 90% or more within 120 minutes in MSAs | 90% or more within 180 minutes in non-MSAs | 90% or more customers restored in 36 hours or less | 90% or more customers restored in 8 hours or less | 90% or more customers restored in 24 hours or less | 90% or more customers restored in 48 hours or less | 6% or less before 2030; 5% or less in 2030 or later | [6 empty] | *** NSPW is reporting the number of outage incidents and not individual customer outages. For example, a tree falls on a line and interrupts power to 50 customers. We record this as 1 outage due to vegetation, not 50 outages due to vegetation. | [14 empty] | N/A** Not Available; NSPW filed an application for a waiver of this reporting requirement on May 3, 2023 in Case No. U-21415
N/A* Not Applicable, condition did not occur

## 4-Census Tract
RELIABILITY DATA TEMPLATE
| Utility: | Northern States Power Co. (Xcel) |  |  | □ Required Fields
| Reporting Month: | 2023-03-31 |  |  | ■ Optional Fields
RELIABILITY DATA REPORTED BY CENSUS TRACT
|  | Meter Reading Factor R460.732 (a) | New Service Installation Factor R460.732(b) | Wire Down Relief Factor R460.732 (c) |  | Outage Restoration |  |  |  | CEMI4 | Line Clearing/ Tree Trimming | [5 empty] | Total Customer outages *** | Outage Causes | [9 empty] | Reliability Metrics (all weather)
[6 empty] | All Conditions R460.732 (d) | Normal Conditions R460.732 (e) | Gray-Sky Conditions R460.732 (f) | Catastrophic Conditions R460.732 (g) | Sustained Interruptions R460.732 (h(i)) | [7 empty] | Equipment | Lightning | Planned | Power Supply | Public | Vegetation | Weather (other than lightning) | Wildlife | Unknown | Other | SAIDI | SAIFI | CAIDI | ASAI | MAIFI
| Census Tract Number | Meter Reading Factor (Percentage) | New Services Installed in 15 Business Days or Less (Percentage) | Number of Minutes until Police/Fire Guarded Downed Wires Reached in Metropolitan Statistical Areas | Number of Minutes until Police/Fire Guarded Downed Wires Reached in Non-Metropolitan Statistical Areas | Percentage of Customers Restored in 36 Hours or Less | Percentage of Customers Restored in 8 Hours or Less | Percentage of Customers Restored in 24 Hours or Less | Percentage of Customers Restored in 48 Hours or Less | Number of Customers Experiencing 4 or More Sustained Interruptions | Amount of Line Cleared (miles) | Capital Spend ($000) | O&M Spend ($000) | Quarterly Line Clearing Target (miles) | Quarterly Line Clearing Target (% of internal target met) | Cumulative Line Clearing Target (%) | Total Customer outages | Total number of outages causes by equipment failure | Total number of outages caused by lightning | Total number of planned and forced outages | Total number of outages caused by transmission or generation failure | Total number of outages caused by an act of the public at large | Total number of outages caused by trees | Total number of outage caused by weather | Total number of outages caued by animal interference | Total number of outages caused by unknonwn causes | Total number of outages caused by other causes | System Average Interruption Duration Index | System Average Interruption Frequency Index | Customer Average Interruption Duration Index (contribution to total CAIDI) | Average Service Availability Index | Momentary Average Interruption Duration Index
| Census Tract 950200 |  |  |  |  | 100% | 100% | N/A* | N/A* | 0 | [6 empty] | 2 |  | 1 | [5 empty] | 1 |  |  | 0.92865 | 0.0079275 | 117.1429 | 100% | N/A**
| Census Tract 950300 |  |  |  |  | 100% | 100% | N/A* | N/A* | 0 | [6 empty] | 2 | 1 |  |  |  |  | 1 |  |  |  |  | 0.42198 | 0.0066788 | 63.1818 | 100% | N/A**
| Census Tract 950400 |  |  |  |  | 100% | 100% | N/A* | N/A* | 0 | [6 empty] | 0 | [10 empty] | 0 | 0 | 0 | 100% | N/A**
| Census Tract 950500 |  |  |  |  | 100% | 100% | N/A* | N/A* | 0 | [6 empty] | 2 | 1 | [5 empty] | 1 |  |  |  | 0.42448 | 0.0050107 | 84.7143 | 100% | N/A**
| Census Tract 950600 |  |  |  |  | 100% | 100% | N/A* | N/A* | 0 | [6 empty] | 17 | 1 |  | 14 | [5 empty] | 2 |  | 8.7881 | 0.06548 | 134.2105 | 99.98% | N/A**
| Census Tract 950700 |  |  |  |  | 100% | 100% | N/A* | N/A* | 0 | [6 empty] | 2 | 1 | [6 empty] | 1 |  |  | 0.1295 | 0.0016892 | 76.6667 | 100% | N/A**
| Census Tract 950800 |  |  |  |  | 100% | 100% | N/A* | N/A* | 0 | [6 empty] | 0 | [10 empty] | 0.85479 | 0.0082192 | 104 | 100% | N/A**
2 | Census Tract 970300 |  |  |  |  | 100% | 100% | N/A* | N/A* | 0 | [6 empty] | 3 | [7 empty] | 2 | 1 |  | 0.55745 | 0.0046584 | 119.6667 | 100% | N/A**
| All Census Tracts (month) |  |  |  |  | 100% | 100% | N/A* | N/A* | 0 | [6 empty] | 28 | 4 | 1 | 14 | 0 | 0 | 1 | 1 | 4 | 3 | 0 | 2.1117 | 0.017124 | 123.3179 | 100% | N/A**
| All Census Tracts (year to date) |  |  |  |  | 100% | 100% | N/A* | N/A* | 0 | [6 empty] | 78 | 4 | 1 | 58 | 0 | 0 | 1 | 1 | 7 | 4 | 2 | 5.9608 | 0.042753 | 139.4218 | 100% | N/A**
| MPSC Annual Performance Standard | 95% or more | 90% or more completed within 15 business days | 90% or more within 120 minutes in MSAs | 90% or more within 180 minutes in non-MSAs | 90% or more customers restored in 36 hours or less | 90% or more customers restored in 8 hours or less | 90% or more customers restored in 24 hours or less | 90% or more customers restored in 48 hours or less | 6% or less before 2030; 5% or less in 2030 or later | [6 empty] | *** NSPW is reporting the number of outage incidents and not individual customer outages. For example, a tree falls on a line and interrupts power to 50 customers. We record this as 1 outage due to vegetation, not 50 outages due to vegetation. | [14 empty] | N/A** Not Available; NSPW filed an application for a waiver of this reporting requirement on May 3, 2023 in Case No. U-21415
N/A* Not Applicable, condition did not occur

## SourceData
Utility_Name | Reporting Periods | Storm Type
Alpena Power Co. | 2023-06-30 | Wind
Citizens Gas Fuel Co. | 2023-05-31 | Ice
Consumers Energy Co. | 2023-04-30 | Rain
DTE Energy Co. | 2023-03-31 | Thunderstorm
Indiana Michigan Power Co. | 2023-02-28 | Snow
Michigan Gas Utilities | 2023-01-31 | Combination
Northern States Power Co. (Xcel) | 2022-12-31
Semco Energy Gas Co.
Upper Michigan Energy Resources
Upper Peninsula Power Co.
Z-Test-Utility

## NormalizedData
Title | Utility | Reporting_Period | Cred_96_R_N | Cred_96_C_N | Cred_96_I_N | Cred_48_R_N | Cred_48_C_N | Cred_48_I_N | Cred_16_R_N | Cred_16_C_N | Cred_16_I_N | Cred_6_R_N | Cred_6_C_N | Cred_6_I_N | Cred_96_R_Dol | Cred_96_C_Dol | Cred_96_I_Dol | Cred_48_R_Dol | Cred_48_C_Dol | Cred_48_I_Dol | Cred_16_R_Dol | Cred_16_C_Dol | Cred_16_I_Dol | Cred_6_R_Dol | Cred_6_C_Dol | Cred_6_I_Dol | CEMI1_M | CEMI1_YTD | CEMI2_M | CEMI2_YTD | CEMI3_M | CEMI3_YTD | CEMI4_M | CEMI4_YTD | CEMI5_M | CEMI5_YTD | CEMI6_M | CEMI6_YTD | CEMI7_M | CEMI7_YTD | CEMI8_M | CEMI8_YTD | CEMI9_M | CEMI9_YTD | CEMI10_M | CEMI10_YTD | CELID8hours | CELID24hours | CELID48hours | CELID_MI | S1_Name | S1_DB | S1_DE | S1_Type | S1_NCI | S1_SD | S1_RED | S1_RE_DE | S1_M_Spent | S1_M_OC | S1_NBRR | S1_NCL | S1_NConW | S1_NBW | S1_NCC | S1_NConC | S1_NBC | S1_NWD | S1_DW | S1_NBRC | S2_Name | S2_DB | S2_DE | S2_Type | S2_NCI | S2_SD | S2_RED | S2_RE_DE | S2_M_Spent | S2_M_OC | S2_NBRR | S2_NCL | S2_NConW | S2_NBW | S2_NCC | S2_NConC | S2_NBC | S2_NWD | S2_DW | S2_NBRC | S3_Name | S3_DB | S3_DE | S3_Type | S3_NCI | S3_SD | S3_RED | S3_RE_DE | S3_M_Spent | S3_M_OC | S3_NBRR | S3_NCL | S3_NConW | S3_NBW | S3_NCC | S3_NConC | S3_NBC | S3_NWD | S3_DW | S3_NBRC | S4_Name | S4_DB | S4_DE | S4_Type | S4_NCI | S4_SD | S4_RED | S4_RE_DE | S4_M_Spent | S4_M_OC | S4_NBRR | S4_NCL | S4_NConW | S4_NBW | S4_NCC | S4_NConC | S4_NBC | S4_NWD | S4_DW | S4_NBRC | S5_Name | S5_DB | S5_DE | S5_Type | S5_NCI | S5_SD | S5_RED | S5_RE_DE | S5_M_Spent | S5_M_OC | S5_NBRR | S5_NCL | S5_NConW | S5_NBW | S5_NCC | S5_NConC | S5_NBC | S5_NWD | S5_DW | S5_NBRC
U-21122 Response Data | Northern States Power Co. (Xcel) | 2023-03-31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8791 | 8444 | 145 | 318 | 3 | 28 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Title | Utility | Reporting_Period | Cred_96_R_N | Cred_96_C_N | Cred_96_I_N | Cred_48_R_N | Cred_48_C_N | Cred_48_I_N | Cred_16_R_N | Cred_16_C_N | Cred_16_I_N | Cred_6_R_N | Cred_6_C_N | Cred_6_I_N | Cred_96_R_Dol | Cred_96_C_Dol | Cred_96_I_Dol | Cred_48_R_Dol | Cred_48_C_Dol | Cred_48_I_Dol | Cred_16_R_Dol | Cred_16_C_Dol | Cred_16_I_Dol | Cred_6_R_Dol | Cred_6_C_Dol | Cred_6_I_Dol | CEMI1_M | CEMI1_YTD | CEMI2_M | CEMI2_YTD | CEMI3_M | CEMI3_YTD | CEMI4_M | CEMI4_YTD | CEMI5_M | CEMI5_YTD | CEMI6_M | CEMI6_YTD | CEMI7_M | CEMI7_YTD | CEMI8_M | CEMI8_YTD | CEMI9_M | CEMI9_YTD | CEMI10_M | CEMI10_YTD | CELID8hours | CELID24hours | CELID48hours | CELID_MI | S1_Name | S1_DB | S1_DE | S1_Type | S1_NCI | S1_SD | S1_RED | S1_RE_DE | S1_M_Spent | S1_M_OC | S1_NBRR | S1_NCL | S1_NConW | S1_NBW | S1_NCC | S1_NConC | S1_NBC | S1_NWD | S1_DW | S1_NBRC | S2_Name | S2_DB | S2_DE | S2_Type | S2_NCI | S2_SD | S2_RED | S2_RE_DE | S2_M_Spent | S2_M_OC | S2_NBRR | S2_NCL | S2_NConW | S2_NBW | S2_NCC | S2_NConC | S2_NBC | S2_NWD | S2_DW | S2_NBRC | S3_Name | S3_DB | S3_DE | S3_Type | S3_NCI | S3_SD | S3_RED | S3_RE_DE | S3_M_Spent | S3_M_OC | S3_NBRR | S3_NCL | S3_NConW | S3_NBW | S3_NCC | S3_NConC | S3_NBC | S3_NWD | S3_DW | S3_NBRC | S4_Name | S4_DB | S4_DE | S4_Type | S4_NCI | S4_SD | S4_RED | S4_RE_DE | S4_M_Spent | S4_M_OC | S4_NBRR | S4_NCL | S4_NConW | S4_NBW | S4_NCC | S4_NConC | S4_NBC | S4_NWD | S4_DW | S4_NBRC | S5_Name | S5_DB | S5_DE | S5_Type | S5_NCI | S5_SD | S5_RED | S5_RE_DE | S5_M_Spent | S5_M_OC | S5_NBRR | S5_NCL | S5_NConW | S5_NBW | S5_NCC | S5_NConC | S5_NBC | S5_NWD | S5_DW | S5_NBRC
Linked | Northern States Power Co. (Xcel) | 2023-03-31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 145 | 318 | 3 | 28 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Static | Credits, worst circuits, storms'!C3 | Credits, worst circuits, storms'!C4 | Credits, worst circuits, storms'!E8 | Credits, worst circuits, storms'!E9 | Credits, worst circuits, storms'!E10 | Credits, worst circuits, storms'!E11 | Credits, worst circuits, storms'!E12 | Credits, worst circuits, storms'!E13 | Credits, worst circuits, storms'!E14 | Credits, worst circuits, storms'!E15 | Credits, worst circuits, storms'!E16 | Credits, worst circuits, storms'!E17 | Credits, worst circuits, storms'!E18 | Credits, worst circuits, storms'!E19 | Credits, worst circuits, storms'!F8 | Credits, worst circuits, storms'!F9 | Credits, worst circuits, storms'!F10 | Credits, worst circuits, storms'!F11 | Credits, worst circuits, storms'!F12 | Credits, worst circuits, storms'!F13 | Credits, worst circuits, storms'!F14 | Credits, worst circuits, storms'!F15 | Credits, worst circuits, storms'!F16 | Credits, worst circuits, storms'!F17 | Credits, worst circuits, storms'!F18 | Credits, worst circuits, storms'!F19 | Credits, worst circuits, storms'!D68 | Credits, worst circuits, storms'!D69 | Credits, worst circuits, storms'!E68 | Credits, worst circuits, storms'!E69 | Credits, worst circuits, storms'!F68 | Credits, worst circuits, storms'!F69 | Credits, worst circuits, storms'!G68 | Credits, worst circuits, storms'!G69 | Credits, worst circuits, storms'!H68 | Credits, worst circuits, storms'!H69 | Credits, worst circuits, storms'!I68 | Credits, worst circuits, storms'!I69 | Credits, worst circuits, storms'!J68 | Credits, worst circuits, storms'!J69 | Credits, worst circuits, storms'!K68 | Credits, worst circuits, storms'!K69 | Credits, worst circuits, storms'!L68 | Credits, worst circuits, storms'!L69 | Credits, worst circuits, storms'!M68 | Credits, worst circuits, storms'!M69 | Credits, worst circuits, storms'!D71 | Credits, worst circuits, storms'!D72 | Credits, worst circuits, storms'!D73 | Credits, worst circuits, storms'!D74 | Credits, worst circuits, storms'!C77 | Credits, worst circuits, storms'!C78 | Credits, worst circuits, storms'!C79 | Credits, worst circuits, storms'!C80 | Credits, worst circuits, storms'!C81 | Credits, worst circuits, storms'!C82 | Credits, worst circuits, storms'!C83 | Credits, worst circuits, storms'!C84 | Credits, worst circuits, storms'!C85 | Credits, worst circuits, storms'!C86 | Credits, worst circuits, storms'!C87 | Credits, worst circuits, storms'!C88 | Credits, worst circuits, storms'!C89 | Credits, worst circuits, storms'!C90 | Credits, worst circuits, storms'!C91 | Credits, worst circuits, storms'!C92 | Credits, worst circuits, storms'!C93 | Credits, worst circuits, storms'!C94 | Credits, worst circuits, storms'!C95 | Credits, worst circuits, storms'!C96 | Credits, worst circuits, storms'!D77 | Credits, worst circuits, storms'!D78 | Credits, worst circuits, storms'!D79 | Credits, worst circuits, storms'!D80 | Credits, worst circuits, storms'!D81 | Credits, worst circuits, storms'!D82 | Credits, worst circuits, storms'!D83 | Credits, worst circuits, storms'!D84 | Credits, worst circuits, storms'!D85 | Credits, worst circuits, storms'!D86 | Credits, worst circuits, storms'!D87 | Credits, worst circuits, storms'!D88 | Credits, worst circuits, storms'!D89 | Credits, worst circuits, storms'!D90 | Credits, worst circuits, storms'!D91 | Credits, worst circuits, storms'!D92 | Credits, worst circuits, storms'!D93 | Credits, worst circuits, storms'!D94 | Credits, worst circuits, storms'!D95 | Credits, worst circuits, storms'!D96 | Credits, worst circuits, storms'!E77 | Credits, worst circuits, storms'!E78 | Credits, worst circuits, storms'!E79 | Credits, worst circuits, storms'!E80 | Credits, worst circuits, storms'!E81 | Credits, worst circuits, storms'!E82 | Credits, worst circuits, storms'!E83 | Credits, worst circuits, storms'!E84 | Credits, worst circuits, storms'!E85 | Credits, worst circuits, storms'!E86 | Credits, worst circuits, storms'!E87 | Credits, worst circuits, storms'!E88 | Credits, worst circuits, storms'!E89 | Credits, worst circuits, storms'!E90 | Credits, worst circuits, storms'!E91 | Credits, worst circuits, storms'!E92 | Credits, worst circuits, storms'!E93 | Credits, worst circuits, storms'!E94 | Credits, worst circuits, storms'!E95 | Credits, worst circuits, storms'!E96 | Credits, worst circuits, storms'!F77 | Credits, worst circuits, storms'!F78 | Credits, worst circuits, storms'!F79 | Credits, worst circuits, storms'!F80 | Credits, worst circuits, storms'!F81 | Credits, worst circuits, storms'!F82 | Credits, worst circuits, storms'!F83 | Credits, worst circuits, storms'!F84 | Credits, worst circuits, storms'!F85 | Credits, worst circuits, storms'!F86 | Credits, worst circuits, storms'!F87 | Credits, worst circuits, storms'!F88 | Credits, worst circuits, storms'!F89 | Credits, worst circuits, storms'!F90 | Credits, worst circuits, storms'!F91 | Credits, worst circuits, storms'!F92 | Credits, worst circuits, storms'!F93 | Credits, worst circuits, storms'!F94 | Credits, worst circuits, storms'!F95 | Credits, worst circuits, storms'!F96 | Credits, worst circuits, storms'!G77 | Credits, worst circuits, storms'!G78 | Credits, worst circuits, storms'!G79 | Credits, worst circuits, storms'!G80 | Credits, worst circuits, storms'!G81 | Credits, worst circuits, storms'!G82 | Credits, worst circuits, storms'!G83 | Credits, worst circuits, storms'!G84 | Credits, worst circuits, storms'!G85 | Credits, worst circuits, storms'!G86 | Credits, worst circuits, storms'!G87 | Credits, worst circuits, storms'!G88 | Credits, worst circuits, storms'!G89 | Credits, worst circuits, storms'!G90 | Credits, worst circuits, storms'!G91 | Credits, worst circuits, storms'!G92 | Credits, worst circuits, storms'!G93 | Credits, worst circuits, storms'!G94 | Credits, worst circuits, storms'!G95 | Credits, worst circuits, storms'!G96
Title | Utility | Reporting_Period | C1_SAIDI_I-A | C1_SAIDI_CName | C1_SAIDI_CNum | C1_SAIDI_MCL | C1_SAIDI_M_W_R | C1_SAIDI_M_W_C | C1_SAIDI_M_W_I | C1_SAIDI_M_W_O | C1_SAIDI_A_ExMED_R | C1_SAIDI_A_ExMED_C | C1_SAIDI_A_ExMED_I | C1_SAIDI_A_ExMED_O | C1_SAIDI_CS_R | C1_SAIDI_CS_C | C1_SAIDI_CS_I | C1_SAIDI_Sub_Name | C1_SAIDI_S_ZC | C1_SAIDI_S_CT | C1_SAIDI_LCT | C1_SAIDI_LOC | C2_SAIDI_I-A | C2_SAIDI_CName | C2_SAIDI_CNum | C2_SAIDI_MCL | C2_SAIDI_M_W_R | C2_SAIDI_M_W_C | C2_SAIDI_M_W_I | C2_SAIDI_M_W_O | C2_SAIDI_A_ExMED_R | C2_SAIDI_A_ExMED_C | C2_SAIDI_A_ExMED_I | C2_SAIDI_A_ExMED_O | C2_SAIDI_CS_R | C2_SAIDI_CS_C | C2_SAIDI_CS_I | C2_SAIDI_Sub_Name | C2_SAIDI_S_ZC | C2_SAIDI_S_CT | C2_SAIDI_LCT | C2_SAIDI_LOC | C3_SAIDI_I-A | C3_SAIDI_CName | C3_SAIDI_CNum | C3_SAIDI_MCL | C3_SAIDI_M_W_R | C3_SAIDI_M_W_C | C3_SAIDI_M_W_I | C3_SAIDI_M_W_O | C3_SAIDI_A_ExMED_R | C3_SAIDI_A_ExMED_C | C3_SAIDI_A_ExMED_I | C3_SAIDI_A_ExMED_O | C3_SAIDI_CS_R | C3_SAIDI_CS_C | C3_SAIDI_CS_I | C3_SAIDI_Sub_Name | C3_SAIDI_S_ZC | C3_SAIDI_S_CT | C3_SAIDI_LCT | C3_SAIDI_LOC | C4_SAIDI_I-A | C4_SAIDI_CName | C4_SAIDI_CNum | C4_SAIDI_MCL | C4_SAIDI_M_W_R | C4_SAIDI_M_W_C | C4_SAIDI_M_W_I | C4_SAIDI_M_W_O | C4_SAIDI_A_ExMED_R | C4_SAIDI_A_ExMED_C | C4_SAIDI_A_ExMED_I | C4_SAIDI_A_ExMED_O | C4_SAIDI_CS_R | C4_SAIDI_CS_C | C4_SAIDI_CS_I | C4_SAIDI_Sub_Name | C4_SAIDI_S_ZC | C4_SAIDI_S_CT | C4_SAIDI_LCT | C4_SAIDI_LOC | C5_SAIDI_I-A | C5_SAIDI_CName | C5_SAIDI_CNum | C5_SAIDI_MCL | C5_SAIDI_M_W_R | C5_SAIDI_M_W_C | C5_SAIDI_M_W_I | C5_SAIDI_M_W_O | C5_SAIDI_A_ExMED_R | C5_SAIDI_A_ExMED_C | C5_SAIDI_A_ExMED_I | C5_SAIDI_A_ExMED_O | C5_SAIDI_CS_R | C5_SAIDI_CS_C | C5_SAIDI_CS_I | C5_SAIDI_Sub_Name | C5_SAIDI_S_ZC | C5_SAIDI_S_CT | C5_SAIDI_LCT | C5_SAIDI_LOC | C6_SAIDI_I-A | C6_SAIDI_CName | C6_SAIDI_CNum | C6_SAIDI_MCL | C6_SAIDI_M_W_R | C6_SAIDI_M_W_C | C6_SAIDI_M_W_I | C6_SAIDI_M_W_O | C6_SAIDI_A_ExMED_R | C6_SAIDI_A_ExMED_C | C6_SAIDI_A_ExMED_I | C6_SAIDI_A_ExMED_O | C6_SAIDI_CS_R | C6_SAIDI_CS_C | C6_SAIDI_CS_I | C6_SAIDI_Sub_Name | C6_SAIDI_S_ZC | C6_SAIDI_S_CT | C6_SAIDI_LCT | C6_SAIDI_LOC | C7_SAIDI_I-A | C7_SAIDI_CName | C7_SAIDI_CNum | C7_SAIDI_MCL | C7_SAIDI_M_W_R | C7_SAIDI_M_W_C | C7_SAIDI_M_W_I | C7_SAIDI_M_W_O | C7_SAIDI_A_ExMED_R | C7_SAIDI_A_ExMED_C | C7_SAIDI_A_ExMED_I | C7_SAIDI_A_ExMED_O | C7_SAIDI_CS_R | C7_SAIDI_CS_C | C7_SAIDI_CS_I | C7_SAIDI_Sub_Name | C7_SAIDI_S_ZC | C7_SAIDI_S_CT | C7_SAIDI_LCT | C7_SAIDI_LOC | C8_SAIDI_I-A | C8_SAIDI_CName | C8_SAIDI_CNum | C8_SAIDI_MCL | C8_SAIDI_M_W_R | C8_SAIDI_M_W_C | C8_SAIDI_M_W_I | C8_SAIDI_M_W_O | C8_SAIDI_A_ExMED_R | C8_SAIDI_A_ExMED_C | C8_SAIDI_A_ExMED_I | C8_SAIDI_A_ExMED_O | C8_SAIDI_CS_R | C8_SAIDI_CS_C | C8_SAIDI_CS_I | C8_SAIDI_Sub_Name | C8_SAIDI_S_ZC | C8_SAIDI_S_CT | C8_SAIDI_LCT | C8_SAIDI_LOC | C9_SAIDI_I-A | C9_SAIDI_CName | C9_SAIDI_CNum | C9_SAIDI_MCL | C9_SAIDI_M_W_R | C9_SAIDI_M_W_C | C9_SAIDI_M_W_I | C9_SAIDI_M_W_O | C9_SAIDI_A_ExMED_R | C9_SAIDI_A_ExMED_C | C9_SAIDI_A_ExMED_I | C9_SAIDI_A_ExMED_O | C9_SAIDI_CS_R | C9_SAIDI_CS_C | C9_SAIDI_CS_I | C9_SAIDI_Sub_Name | C9_SAIDI_S_ZC | C9_SAIDI_S_CT | C9_SAIDI_LCT | C9_SAIDI_LOC | C10_SAIDI_I-A | C10_SAIDI_CName | C10_SAIDI_CNum | C10_SAIDI_MCL | C10_SAIDI_M_W_R | C10_SAIDI_M_W_C | C10_SAIDI_M_W_I | C10_SAIDI_M_W_O | C10_SAIDI_A_ExMED_R | C10_SAIDI_A_ExMED_C | C10_SAIDI_A_ExMED_I | C10_SAIDI_A_ExMED_O | C10_SAIDI_CS_R | C10_SAIDI_CS_C | C10_SAIDI_CS_I | C10_SAIDI_Sub_Name | C10_SAIDI_S_ZC | C10_SAIDI_S_CT | C10_SAIDI_LCT | C10_SAIDI_LOC
U-21122 Response Data | Northern States Power Co. (Xcel) | 2023-03-31 |  | IRW006 | 006 | 11.3963039014374 | 18.0279187817259 | 3.59668508287293 | 0 | 15.2692702980473 | 48.2347715736041 | 15.8508287292818 | 0 | 42.1857585139319 | 788 | 181 | 0 | Ironwood | 49938 | 950500 | 44434 | Planned: 3/1(3), 3/2(2), 3/6(4), 3/8(3)Unknown: 3/15(2)Equipment Failure: 3/17
Title | Utility | Reporting_Period | C1_SAIDI_I-A | C1_SAIDI_CName | C1_SAIDI_CNum | C1_SAIDI_MCL | C1_SAIDI_M_W_R | C1_SAIDI_M_W_C | C1_SAIDI_M_W_I | C1_SAIDI_M_W_O | C1_SAIDI_A_ExMED_R | C1_SAIDI_A_ExMED_C | C1_SAIDI_A_ExMED_I | C1_SAIDI_A_ExMED_O | C1_SAIDI_CS_R | C1_SAIDI_CS_C | C1_SAIDI_CS_I | C1_SAIDI_Sub_Name | C1_SAIDI_S_ZC | C1_SAIDI_S_CT | C1_SAIDI_LCT | C1_SAIDI_LOC | C2_SAIDI_I-A | C2_SAIDI_CName | C2_SAIDI_CNum | C2_SAIDI_MCL | C2_SAIDI_M_W_R | C2_SAIDI_M_W_C | C2_SAIDI_M_W_I | C2_SAIDI_M_W_O | C2_SAIDI_A_ExMED_R | C2_SAIDI_A_ExMED_C | C2_SAIDI_A_ExMED_I | C2_SAIDI_A_ExMED_O | C2_SAIDI_CS_R | C2_SAIDI_CS_C | C2_SAIDI_CS_I | C2_SAIDI_Sub_Name | C2_SAIDI_S_ZC | C2_SAIDI_S_CT | C2_SAIDI_LCT | C2_SAIDI_LOC | C3_SAIDI_I-A | C3_SAIDI_CName | C3_SAIDI_CNum | C3_SAIDI_MCL | C3_SAIDI_M_W_R | C3_SAIDI_M_W_C | C3_SAIDI_M_W_I | C3_SAIDI_M_W_O | C3_SAIDI_A_ExMED_R | C3_SAIDI_A_ExMED_C | C3_SAIDI_A_ExMED_I | C3_SAIDI_A_ExMED_O | C3_SAIDI_CS_R | C3_SAIDI_CS_C | C3_SAIDI_CS_I | C3_SAIDI_Sub_Name | C3_SAIDI_S_ZC | C3_SAIDI_S_CT | C3_SAIDI_LCT | C3_SAIDI_LOC | C4_SAIDI_I-A | C4_SAIDI_CName | C4_SAIDI_CNum | C4_SAIDI_MCL | C4_SAIDI_M_W_R | C4_SAIDI_M_W_C | C4_SAIDI_M_W_I | C4_SAIDI_M_W_O | C4_SAIDI_A_ExMED_R | C4_SAIDI_A_ExMED_C | C4_SAIDI_A_ExMED_I | C4_SAIDI_A_ExMED_O | C4_SAIDI_CS_R | C4_SAIDI_CS_C | C4_SAIDI_CS_I | C4_SAIDI_Sub_Name | C4_SAIDI_S_ZC | C4_SAIDI_S_CT | C4_SAIDI_LCT | C4_SAIDI_LOC | C5_SAIDI_I-A | C5_SAIDI_CName | C5_SAIDI_CNum | C5_SAIDI_MCL | C5_SAIDI_M_W_R | C5_SAIDI_M_W_C | C5_SAIDI_M_W_I | C5_SAIDI_M_W_O | C5_SAIDI_A_ExMED_R | C5_SAIDI_A_ExMED_C | C5_SAIDI_A_ExMED_I | C5_SAIDI_A_ExMED_O | C5_SAIDI_CS_R | C5_SAIDI_CS_C | C5_SAIDI_CS_I | C5_SAIDI_Sub_Name | C5_SAIDI_S_ZC | C5_SAIDI_S_CT | C5_SAIDI_LCT | C5_SAIDI_LOC | C6_SAIDI_I-A | C6_SAIDI_CName | C6_SAIDI_CNum | C6_SAIDI_MCL | C6_SAIDI_M_W_R | C6_SAIDI_M_W_C | C6_SAIDI_M_W_I | C6_SAIDI_M_W_O | C6_SAIDI_A_ExMED_R | C6_SAIDI_A_ExMED_C | C6_SAIDI_A_ExMED_I | C6_SAIDI_A_ExMED_O | C6_SAIDI_CS_R | C6_SAIDI_CS_C | C6_SAIDI_CS_I | C6_SAIDI_Sub_Name | C6_SAIDI_S_ZC | C6_SAIDI_S_CT | C6_SAIDI_LCT | C6_SAIDI_LOC | C7_SAIDI_I-A | C7_SAIDI_CName | C7_SAIDI_CNum | C7_SAIDI_MCL | C7_SAIDI_M_W_R | C7_SAIDI_M_W_C | C7_SAIDI_M_W_I | C7_SAIDI_M_W_O | C7_SAIDI_A_ExMED_R | C7_SAIDI_A_ExMED_C | C7_SAIDI_A_ExMED_I | C7_SAIDI_A_ExMED_O | C7_SAIDI_CS_R | C7_SAIDI_CS_C | C7_SAIDI_CS_I | C7_SAIDI_Sub_Name | C7_SAIDI_S_ZC | C7_SAIDI_S_CT | C7_SAIDI_LCT | C7_SAIDI_LOC | C8_SAIDI_I-A | C8_SAIDI_CName | C8_SAIDI_CNum | C8_SAIDI_MCL | C8_SAIDI_M_W_R | C8_SAIDI_M_W_C | C8_SAIDI_M_W_I | C8_SAIDI_M_W_O | C8_SAIDI_A_ExMED_R | C8_SAIDI_A_ExMED_C | C8_SAIDI_A_ExMED_I | C8_SAIDI_A_ExMED_O | C8_SAIDI_CS_R | C8_SAIDI_CS_C | C8_SAIDI_CS_I | C8_SAIDI_Sub_Name | C8_SAIDI_S_ZC | C8_SAIDI_S_CT | C8_SAIDI_LCT | C8_SAIDI_LOC | C9_SAIDI_I-A | C9_SAIDI_CName | C9_SAIDI_CNum | C9_SAIDI_MCL | C9_SAIDI_M_W_R | C9_SAIDI_M_W_C | C9_SAIDI_M_W_I | C9_SAIDI_M_W_O | C9_SAIDI_A_ExMED_R | C9_SAIDI_A_ExMED_C | C9_SAIDI_A_ExMED_I | C9_SAIDI_A_ExMED_O | C9_SAIDI_CS_R | C9_SAIDI_CS_C | C9_SAIDI_CS_I | C9_SAIDI_Sub_Name | C9_SAIDI_S_ZC | C9_SAIDI_S_CT | C9_SAIDI_LCT | C9_SAIDI_LOC | C10_SAIDI_I-A | C10_SAIDI_CName | C10_SAIDI_CNum | C10_SAIDI_MCL | C10_SAIDI_M_W_R | C10_SAIDI_M_W_C | C10_SAIDI_M_W_I | C10_SAIDI_M_W_O | C10_SAIDI_A_ExMED_R | C10_SAIDI_A_ExMED_C | C10_SAIDI_A_ExMED_I | C10_SAIDI_A_ExMED_O | C10_SAIDI_CS_R | C10_SAIDI_CS_C | C10_SAIDI_CS_I | C10_SAIDI_Sub_Name | C10_SAIDI_S_ZC | C10_SAIDI_S_CT | C10_SAIDI_LCT | C10_SAIDI_LOC
Linked | Northern States Power Co. (Xcel) | 2023-03-31 | 0 | IRW006 | 006 | 11.3963 | 18.0279 | 3.5967 | 0 | 15.2693 | 48.2348 | 15.8508 | 0 | 42.1858 | 788 | 181 | 0 | Ironwood | 49938 | 950500 | 2021-08-26 | Planned: 3/1(3), 3/2(2), 3/6(4), 3/8(3) Unknown: 3/15(2) Equipment Failure: 3/17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Static | Credits, worst circuits, storms'!C3 | Credits, worst circuits, storms'!C4 | Credits, worst circuits, storms'!D25 | Credits, worst circuits, storms'!D26 | Credits, worst circuits, storms'!D27 | Credits, worst circuits, storms'!D28 | Credits, worst circuits, storms'!D29 | Credits, worst circuits, storms'!D30 | Credits, worst circuits, storms'!D31 | Credits, worst circuits, storms'!D32 | Credits, worst circuits, storms'!D33 | Credits, worst circuits, storms'!D34 | Credits, worst circuits, storms'!D35 | Credits, worst circuits, storms'!D36 | Credits, worst circuits, storms'!D37 | Credits, worst circuits, storms'!D38 | Credits, worst circuits, storms'!D39 | Credits, worst circuits, storms'!D40 | Credits, worst circuits, storms'!D41 | Credits, worst circuits, storms'!D42 | Credits, worst circuits, storms'!D43 | Credits, worst circuits, storms'!D44 | Credits, worst circuits, storms'!E25 | Credits, worst circuits, storms'!E26 | Credits, worst circuits, storms'!E27 | Credits, worst circuits, storms'!E28 | Credits, worst circuits, storms'!E29 | Credits, worst circuits, storms'!E30 | Credits, worst circuits, storms'!E31 | Credits, worst circuits, storms'!E32 | Credits, worst circuits, storms'!E33 | Credits, worst circuits, storms'!E34 | Credits, worst circuits, storms'!E35 | Credits, worst circuits, storms'!E36 | Credits, worst circuits, storms'!E37 | Credits, worst circuits, storms'!E38 | Credits, worst circuits, storms'!E39 | Credits, worst circuits, storms'!E40 | Credits, worst circuits, storms'!E41 | Credits, worst circuits, storms'!E42 | Credits, worst circuits, storms'!E43 | Credits, worst circuits, storms'!E44 | Credits, worst circuits, storms'!F25 | Credits, worst circuits, storms'!F26 | Credits, worst circuits, storms'!F27 | Credits, worst circuits, storms'!F28 | Credits, worst circuits, storms'!F29 | Credits, worst circuits, storms'!F30 | Credits, worst circuits, storms'!F31 | Credits, worst circuits, storms'!F32 | Credits, worst circuits, storms'!F33 | Credits, worst circuits, storms'!F34 | Credits, worst circuits, storms'!F35 | Credits, worst circuits, storms'!F36 | Credits, worst circuits, storms'!F37 | Credits, worst circuits, storms'!F38 | Credits, worst circuits, storms'!F39 | Credits, worst circuits, storms'!F40 | Credits, worst circuits, storms'!F41 | Credits, worst circuits, storms'!F42 | Credits, worst circuits, storms'!F43 | Credits, worst circuits, storms'!F44 | Credits, worst circuits, storms'!G25 | Credits, worst circuits, storms'!G26 | Credits, worst circuits, storms'!G27 | Credits, worst circuits, storms'!G28 | Credits, worst circuits, storms'!G29 | Credits, worst circuits, storms'!G30 | Credits, worst circuits, storms'!G31 | Credits, worst circuits, storms'!G32 | Credits, worst circuits, storms'!G33 | Credits, worst circuits, storms'!G34 | Credits, worst circuits, storms'!G35 | Credits, worst circuits, storms'!G36 | Credits, worst circuits, storms'!G37 | Credits, worst circuits, storms'!G38 | Credits, worst circuits, storms'!G39 | Credits, worst circuits, storms'!G40 | Credits, worst circuits, storms'!G41 | Credits, worst circuits, storms'!G42 | Credits, worst circuits, storms'!G43 | Credits, worst circuits, storms'!G44 | Credits, worst circuits, storms'!H25 | Credits, worst circuits, storms'!H26 | Credits, worst circuits, storms'!H27 | Credits, worst circuits, storms'!H28 | Credits, worst circuits, storms'!H29 | Credits, worst circuits, storms'!H30 | Credits, worst circuits, storms'!H31 | Credits, worst circuits, storms'!H32 | Credits, worst circuits, storms'!H33 | Credits, worst circuits, storms'!H34 | Credits, worst circuits, storms'!H35 | Credits, worst circuits, storms'!H36 | Credits, worst circuits, storms'!H37 | Credits, worst circuits, storms'!H38 | Credits, worst circuits, storms'!H39 | Credits, worst circuits, storms'!H40 | Credits, worst circuits, storms'!H41 | Credits, worst circuits, storms'!H42 | Credits, worst circuits, storms'!H43 | Credits, worst circuits, storms'!H44 | Credits, worst circuits, storms'!I25 | Credits, worst circuits, storms'!I26 | Credits, worst circuits, storms'!I27 | Credits, worst circuits, storms'!I28 | Credits, worst circuits, storms'!I29 | Credits, worst circuits, storms'!I30 | Credits, worst circuits, storms'!I31 | Credits, worst circuits, storms'!I32 | Credits, worst circuits, storms'!I33 | Credits, worst circuits, storms'!I34 | Credits, worst circuits, storms'!I35 | Credits, worst circuits, storms'!I36 | Credits, worst circuits, storms'!I37 | Credits, worst circuits, storms'!I38 | Credits, worst circuits, storms'!I39 | Credits, worst circuits, storms'!I40 | Credits, worst circuits, storms'!I41 | Credits, worst circuits, storms'!I42 | Credits, worst circuits, storms'!I43 | Credits, worst circuits, storms'!I44 | Credits, worst circuits, storms'!J25 | Credits, worst circuits, storms'!J26 | Credits, worst circuits, storms'!J27 | Credits, worst circuits, storms'!J28 | Credits, worst circuits, storms'!J29 | Credits, worst circuits, storms'!J30 | Credits, worst circuits, storms'!J31 | Credits, worst circuits, storms'!J32 | Credits, worst circuits, storms'!J33 | Credits, worst circuits, storms'!J34 | Credits, worst circuits, storms'!J35 | Credits, worst circuits, storms'!J36 | Credits, worst circuits, storms'!J37 | Credits, worst circuits, storms'!J38 | Credits, worst circuits, storms'!J39 | Credits, worst circuits, storms'!J40 | Credits, worst circuits, storms'!J41 | Credits, worst circuits, storms'!J42 | Credits, worst circuits, storms'!J43 | Credits, worst circuits, storms'!J44 | Credits, worst circuits, storms'!K25 | Credits, worst circuits, storms'!K26 | Credits, worst circuits, storms'!K27 | Credits, worst circuits, storms'!K28 | Credits, worst circuits, storms'!K29 | Credits, worst circuits, storms'!K30 | Credits, worst circuits, storms'!K31 | Credits, worst circuits, storms'!K32 | Credits, worst circuits, storms'!K33 | Credits, worst circuits, storms'!K34 | Credits, worst circuits, storms'!K35 | Credits, worst circuits, storms'!K36 | Credits, worst circuits, storms'!K37 | Credits, worst circuits, storms'!K38 | Credits, worst circuits, storms'!K39 | Credits, worst circuits, storms'!K40 | Credits, worst circuits, storms'!K41 | Credits, worst circuits, storms'!K42 | Credits, worst circuits, storms'!K43 | Credits, worst circuits, storms'!K44 | Credits, worst circuits, storms'!L25 | Credits, worst circuits, storms'!L26 | Credits, worst circuits, storms'!L27 | Credits, worst circuits, storms'!L28 | Credits, worst circuits, storms'!L29 | Credits, worst circuits, storms'!L30 | Credits, worst circuits, storms'!L31 | Credits, worst circuits, storms'!L32 | Credits, worst circuits, storms'!L33 | Credits, worst circuits, storms'!L34 | Credits, worst circuits, storms'!L35 | Credits, worst circuits, storms'!L36 | Credits, worst circuits, storms'!L37 | Credits, worst circuits, storms'!L38 | Credits, worst circuits, storms'!L39 | Credits, worst circuits, storms'!L40 | Credits, worst circuits, storms'!L41 | Credits, worst circuits, storms'!L42 | Credits, worst circuits, storms'!L43 | Credits, worst circuits, storms'!L44 | Credits, worst circuits, storms'!M25 | Credits, worst circuits, storms'!M26 | Credits, worst circuits, storms'!M27 | Credits, worst circuits, storms'!M28 | Credits, worst circuits, storms'!M29 | Credits, worst circuits, storms'!M30 | Credits, worst circuits, storms'!M31 | Credits, worst circuits, storms'!M32 | Credits, worst circuits, storms'!M33 | Credits, worst circuits, storms'!M34 | Credits, worst circuits, storms'!M35 | Credits, worst circuits, storms'!M36 | Credits, worst circuits, storms'!M37 | Credits, worst circuits, storms'!M38 | Credits, worst circuits, storms'!M39 | Credits, worst circuits, storms'!M40 | Credits, worst circuits, storms'!M41 | Credits, worst circuits, storms'!M42 | Credits, worst circuits, storms'!M43 | Credits, worst circuits, storms'!M44
Title | Utility | Reporting_Period | C1_SAIFI_I-A | C1_SAIFI_CName | C1_SAIFI_CNum | C1_SAIFI_MCL | C1_SAIFI_M_W_R | C1_SAIFI_M_W_C | C1_SAIFI_M_W_I | C1_SAIFI_M_W_O | C1_SAIFI_A_ExMED_R | C1_SAIFI_A_ExMED_C | C1_SAIFI_A_ExMED_I | C1_SAIFI_A_ExMED_O | C1_SAIFI_CS_R | C1_SAIFI_CS_C | C1_SAIFI_CS_I | C1_SAIFI_Sub_Name | C1_SAIFI_S_ZC | C1_SAIFI_S_CT | C1_SAIFI_LCT | C1_SAIFI_LOC | C2_SAIFI_I-A | C2_SAIFI_CName | C2_SAIFI_CNum | C2_SAIFI_MCL | C2_SAIFI_M_W_R | C2_SAIFI_M_W_C | C2_SAIFI_M_W_I | C2_SAIFI_M_W_O | C2_SAIFI_A_ExMED_R | C2_SAIFI_A_ExMED_C | C2_SAIFI_A_ExMED_I | C2_SAIFI_A_ExMED_O | C2_SAIFI_CS_R | C2_SAIFI_CS_C | C2_SAIFI_CS_I | C2_SAIFI_Sub_Name | C2_SAIFI_S_ZC | C2_SAIFI_S_CT | C2_SAIFI_LCT | C2_SAIFI_LOC | C3_SAIFI_I-A | C3_SAIFI_CName | C3_SAIFI_CNum | C3_SAIFI_MCL | C3_SAIFI_M_W_R | C3_SAIFI_M_W_C | C3_SAIFI_M_W_I | C3_SAIFI_M_W_O | C3_SAIFI_A_ExMED_R | C3_SAIFI_A_ExMED_C | C3_SAIFI_A_ExMED_I | C3_SAIFI_A_ExMED_O | C3_SAIFI_CS_R | C3_SAIFI_CS_C | C3_SAIFI_CS_I | C3_SAIFI_Sub_Name | C3_SAIFI_S_ZC | C3_SAIFI_S_CT | C3_SAIFI_LCT | C3_SAIFI_LOC | C4_SAIFI_I-A | C4_SAIFI_CName | C4_SAIFI_CNum | C4_SAIFI_MCL | C4_SAIFI_M_W_R | C4_SAIFI_M_W_C | C4_SAIFI_M_W_I | C4_SAIFI_M_W_O | C4_SAIFI_A_ExMED_R | C4_SAIFI_A_ExMED_C | C4_SAIFI_A_ExMED_I | C4_SAIFI_A_ExMED_O | C4_SAIFI_CS_R | C4_SAIFI_CS_C | C4_SAIFI_CS_I | C4_SAIFI_Sub_Name | C4_SAIFI_S_ZC | C4_SAIFI_S_CT | C4_SAIFI_LCT | C4_SAIFI_LOC | C5_SAIFI_I-A | C5_SAIFI_CName | C5_SAIFI_CNum | C5_SAIFI_MCL | C5_SAIFI_M_W_R | C5_SAIFI_M_W_C | C5_SAIFI_M_W_I | C5_SAIFI_M_W_O | C5_SAIFI_A_ExMED_R | C5_SAIFI_A_ExMED_C | C5_SAIFI_A_ExMED_I | C5_SAIFI_A_ExMED_O | C5_SAIFI_CS_R | C5_SAIFI_CS_C | C5_SAIFI_CS_I | C5_SAIFI_Sub_Name | C5_SAIFI_S_ZC | C5_SAIFI_S_CT | C5_SAIFI_LCT | C5_SAIFI_LOC | C6_SAIFI_I-A | C6_SAIFI_CName | C6_SAIFI_CNum | C6_SAIFI_MCL | C6_SAIFI_M_W_R | C6_SAIFI_M_W_C | C6_SAIFI_M_W_I | C6_SAIFI_M_W_O | C6_SAIFI_A_ExMED_R | C6_SAIFI_A_ExMED_C | C6_SAIFI_A_ExMED_I | C6_SAIFI_A_ExMED_O | C6_SAIFI_CS_R | C6_SAIFI_CS_C | C6_SAIFI_CS_I | C6_SAIFI_Sub_Name | C6_SAIFI_S_ZC | C6_SAIFI_S_CT | C6_SAIFI_LCT | C6_SAIFI_LOC | C7_SAIFI_I-A | C7_SAIFI_CName | C7_SAIFI_CNum | C7_SAIFI_MCL | C7_SAIFI_M_W_R | C7_SAIFI_M_W_C | C7_SAIFI_M_W_I | C7_SAIFI_M_W_O | C7_SAIFI_A_ExMED_R | C7_SAIFI_A_ExMED_C | C7_SAIFI_A_ExMED_I | C7_SAIFI_A_ExMED_O | C7_SAIFI_CS_R | C7_SAIFI_CS_C | C7_SAIFI_CS_I | C7_SAIFI_Sub_Name | C7_SAIFI_S_ZC | C7_SAIFI_S_CT | C7_SAIFI_LCT | C7_SAIFI_LOC | C8_SAIFI_I-A | C8_SAIFI_CName | C8_SAIFI_CNum | C8_SAIFI_MCL | C8_SAIFI_M_W_R | C8_SAIFI_M_W_C | C8_SAIFI_M_W_I | C8_SAIFI_M_W_O | C8_SAIFI_A_ExMED_R | C8_SAIFI_A_ExMED_C | C8_SAIFI_A_ExMED_I | C8_SAIFI_A_ExMED_O | C8_SAIFI_CS_R | C8_SAIFI_CS_C | C8_SAIFI_CS_I | C8_SAIFI_Sub_Name | C8_SAIFI_S_ZC | C8_SAIFI_S_CT | C8_SAIFI_LCT | C8_SAIFI_LOC | C9_SAIFI_I-A | C9_SAIFI_CName | C9_SAIFI_CNum | C9_SAIFI_MCL | C9_SAIFI_M_W_R | C9_SAIFI_M_W_C | C9_SAIFI_M_W_I | C9_SAIFI_M_W_O | C9_SAIFI_A_ExMED_R | C9_SAIFI_A_ExMED_C | C9_SAIFI_A_ExMED_I | C9_SAIFI_A_ExMED_O | C9_SAIFI_CS_R | C9_SAIFI_CS_C | C9_SAIFI_CS_I | C9_SAIFI_Sub_Name | C9_SAIFI_S_ZC | C9_SAIFI_S_CT | C9_SAIFI_LCT | C9_SAIFI_LOC | C10_SAIFI_I-A | C10_SAIFI_CName | C10_SAIFI_CNum | C10_SAIFI_MCL | C10_SAIFI_M_W_R | C10_SAIFI_M_W_C | C10_SAIFI_M_W_I | C10_SAIFI_M_W_O | C10_SAIFI_A_ExMED_R | C10_SAIFI_A_ExMED_C | C10_SAIFI_A_ExMED_I | C10_SAIFI_A_ExMED_O | C10_SAIFI_CS_R | C10_SAIFI_CS_C | C10_SAIFI_CS_I | C10_SAIFI_Sub_Name | C10_SAIFI_S_ZC | C10_SAIFI_S_CT | C10_SAIFI_LCT | C10_SAIFI_LOC
U-21122 Response Data | Northern States Power Co. (Xcel) | 2023-03-31 |  | IRW006 | 006 | 11.3963039014374 | 0.133248730964467 | 0.0276243093922652 | 0 | 0.114551083591331 | 1.50828729281768 | 0.104972375690608 | 0 | 0.301341589267286 | 793 | 181 | 0 | Ironwood | 49938 | 950500 | 44434 | Planned: 3/1(3), 3/2(2), 3/6(4), 3/8(3)Unknown: 3/15(2)Equipment Failure: 3/17
Title | Utility | Reporting_Period | C1_SAIFI_I-A | C1_SAIFI_CName | C1_SAIFI_CNum | C1_SAIFI_MCL | C1_SAIFI_M_W_R | C1_SAIFI_M_W_C | C1_SAIFI_M_W_I | C1_SAIFI_M_W_O | C1_SAIFI_A_ExMED_R | C1_SAIFI_A_ExMED_C | C1_SAIFI_A_ExMED_I | C1_SAIFI_A_ExMED_O | C1_SAIFI_CS_R | C1_SAIFI_CS_C | C1_SAIFI_CS_I | C1_SAIFI_Sub_Name | C1_SAIFI_S_ZC | C1_SAIFI_S_CT | C1_SAIFI_LCT | C1_SAIFI_LOC | C2_SAIFI_I-A | C2_SAIFI_CName | C2_SAIFI_CNum | C2_SAIFI_MCL | C2_SAIFI_M_W_R | C2_SAIFI_M_W_C | C2_SAIFI_M_W_I | C2_SAIFI_M_W_O | C2_SAIFI_A_ExMED_R | C2_SAIFI_A_ExMED_C | C2_SAIFI_A_ExMED_I | C2_SAIFI_A_ExMED_O | C2_SAIFI_CS_R | C2_SAIFI_CS_C | C2_SAIFI_CS_I | C2_SAIFI_Sub_Name | C2_SAIFI_S_ZC | C2_SAIFI_S_CT | C2_SAIFI_LCT | C2_SAIFI_LOC | C3_SAIFI_I-A | C3_SAIFI_CName | C3_SAIFI_CNum | C3_SAIFI_MCL | C3_SAIFI_M_W_R | C3_SAIFI_M_W_C | C3_SAIFI_M_W_I | C3_SAIFI_M_W_O | C3_SAIFI_A_ExMED_R | C3_SAIFI_A_ExMED_C | C3_SAIFI_A_ExMED_I | C3_SAIFI_A_ExMED_O | C3_SAIFI_CS_R | C3_SAIFI_CS_C | C3_SAIFI_CS_I | C3_SAIFI_Sub_Name | C3_SAIFI_S_ZC | C3_SAIFI_S_CT | C3_SAIFI_LCT | C3_SAIFI_LOC | C4_SAIFI_I-A | C4_SAIFI_CName | C4_SAIFI_CNum | C4_SAIFI_MCL | C4_SAIFI_M_W_R | C4_SAIFI_M_W_C | C4_SAIFI_M_W_I | C4_SAIFI_M_W_O | C4_SAIFI_A_ExMED_R | C4_SAIFI_A_ExMED_C | C4_SAIFI_A_ExMED_I | C4_SAIFI_A_ExMED_O | C4_SAIFI_CS_R | C4_SAIFI_CS_C | C4_SAIFI_CS_I | C4_SAIFI_Sub_Name | C4_SAIFI_S_ZC | C4_SAIFI_S_CT | C4_SAIFI_LCT | C4_SAIFI_LOC | C5_SAIFI_I-A | C5_SAIFI_CName | C5_SAIFI_CNum | C5_SAIFI_MCL | C5_SAIFI_M_W_R | C5_SAIFI_M_W_C | C5_SAIFI_M_W_I | C5_SAIFI_M_W_O | C5_SAIFI_A_ExMED_R | C5_SAIFI_A_ExMED_C | C5_SAIFI_A_ExMED_I | C5_SAIFI_A_ExMED_O | C5_SAIFI_CS_R | C5_SAIFI_CS_C | C5_SAIFI_CS_I | C5_SAIFI_Sub_Name | C5_SAIFI_S_ZC | C5_SAIFI_S_CT | C5_SAIFI_LCT | C5_SAIFI_LOC | C6_SAIFI_I-A | C6_SAIFI_CName | C6_SAIFI_CNum | C6_SAIFI_MCL | C6_SAIFI_M_W_R | C6_SAIFI_M_W_C | C6_SAIFI_M_W_I | C6_SAIFI_M_W_O | C6_SAIFI_A_ExMED_R | C6_SAIFI_A_ExMED_C | C6_SAIFI_A_ExMED_I | C6_SAIFI_A_ExMED_O | C6_SAIFI_CS_R | C6_SAIFI_CS_C | C6_SAIFI_CS_I | C6_SAIFI_Sub_Name | C6_SAIFI_S_ZC | C6_SAIFI_S_CT | C6_SAIFI_LCT | C6_SAIFI_LOC | C7_SAIFI_I-A | C7_SAIFI_CName | C7_SAIFI_CNum | C7_SAIFI_MCL | C7_SAIFI_M_W_R | C7_SAIFI_M_W_C | C7_SAIFI_M_W_I | C7_SAIFI_M_W_O | C7_SAIFI_A_ExMED_R | C7_SAIFI_A_ExMED_C | C7_SAIFI_A_ExMED_I | C7_SAIFI_A_ExMED_O | C7_SAIFI_CS_R | C7_SAIFI_CS_C | C7_SAIFI_CS_I | C7_SAIFI_Sub_Name | C7_SAIFI_S_ZC | C7_SAIFI_S_CT | C7_SAIFI_LCT | C7_SAIFI_LOC | C8_SAIFI_I-A | C8_SAIFI_CName | C8_SAIFI_CNum | C8_SAIFI_MCL | C8_SAIFI_M_W_R | C8_SAIFI_M_W_C | C8_SAIFI_M_W_I | C8_SAIFI_M_W_O | C8_SAIFI_A_ExMED_R | C8_SAIFI_A_ExMED_C | C8_SAIFI_A_ExMED_I | C8_SAIFI_A_ExMED_O | C8_SAIFI_CS_R | C8_SAIFI_CS_C | C8_SAIFI_CS_I | C8_SAIFI_Sub_Name | C8_SAIFI_S_ZC | C8_SAIFI_S_CT | C8_SAIFI_LCT | C8_SAIFI_LOC | C9_SAIFI_I-A | C9_SAIFI_CName | C9_SAIFI_CNum | C9_SAIFI_MCL | C9_SAIFI_M_W_R | C9_SAIFI_M_W_C | C9_SAIFI_M_W_I | C9_SAIFI_M_W_O | C9_SAIFI_A_ExMED_R | C9_SAIFI_A_ExMED_C | C9_SAIFI_A_ExMED_I | C9_SAIFI_A_ExMED_O | C9_SAIFI_CS_R | C9_SAIFI_CS_C | C9_SAIFI_CS_I | C9_SAIFI_Sub_Name | C9_SAIFI_S_ZC | C9_SAIFI_S_CT | C9_SAIFI_LCT | C9_SAIFI_LOC | C10_SAIFI_I-A | C10_SAIFI_CName | C10_SAIFI_CNum | C10_SAIFI_MCL | C10_SAIFI_M_W_R | C10_SAIFI_M_W_C | C10_SAIFI_M_W_I | C10_SAIFI_M_W_O | C10_SAIFI_A_ExMED_R | C10_SAIFI_A_ExMED_C | C10_SAIFI_A_ExMED_I | C10_SAIFI_A_ExMED_O | C10_SAIFI_CS_R | C10_SAIFI_CS_C | C10_SAIFI_CS_I | C10_SAIFI_Sub_Name | C10_SAIFI_S_ZC | C10_SAIFI_S_CT | C10_SAIFI_LCT | C10_SAIFI_LOC
Linked | Northern States Power Co. (Xcel) | 2023-03-31 | 0 | IRW006 | 006 | 11.3963 | 0.13325 | 0.027624 | 0 | 0.11455 | 1.5083 | 0.10497 | 0 | 0.30134 | 793 | 181 | 0 | Ironwood | 49938 | 950500 | 2021-08-26 | Planned: 3/1(3), 3/2(2), 3/6(4), 3/8(3) Unknown: 3/15(2) Equipment Failure: 3/17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Static | Credits, worst circuits, storms'!C3 | Credits, worst circuits, storms'!C4 | Credits, worst circuits, storms'!D46 | Credits, worst circuits, storms'!D47 | Credits, worst circuits, storms'!D48 | Credits, worst circuits, storms'!D49 | Credits, worst circuits, storms'!D50 | Credits, worst circuits, storms'!D51 | Credits, worst circuits, storms'!D52 | Credits, worst circuits, storms'!D53 | Credits, worst circuits, storms'!D54 | Credits, worst circuits, storms'!D55 | Credits, worst circuits, storms'!D56 | Credits, worst circuits, storms'!D57 | Credits, worst circuits, storms'!D58 | Credits, worst circuits, storms'!D59 | Credits, worst circuits, storms'!D60 | Credits, worst circuits, storms'!D61 | Credits, worst circuits, storms'!D62 | Credits, worst circuits, storms'!D63 | Credits, worst circuits, storms'!D64 | Credits, worst circuits, storms'!D65 | Credits, worst circuits, storms'!E46 | Credits, worst circuits, storms'!E47 | Credits, worst circuits, storms'!E48 | Credits, worst circuits, storms'!E49 | Credits, worst circuits, storms'!E50 | Credits, worst circuits, storms'!E51 | Credits, worst circuits, storms'!E52 | Credits, worst circuits, storms'!E53 | Credits, worst circuits, storms'!E54 | Credits, worst circuits, storms'!E55 | Credits, worst circuits, storms'!E56 | Credits, worst circuits, storms'!E57 | Credits, worst circuits, storms'!E58 | Credits, worst circuits, storms'!E59 | Credits, worst circuits, storms'!E60 | Credits, worst circuits, storms'!E61 | Credits, worst circuits, storms'!E62 | Credits, worst circuits, storms'!E63 | Credits, worst circuits, storms'!E64 | Credits, worst circuits, storms'!E65 | Credits, worst circuits, storms'!F46 | Credits, worst circuits, storms'!F47 | Credits, worst circuits, storms'!F48 | Credits, worst circuits, storms'!F49 | Credits, worst circuits, storms'!F50 | Credits, worst circuits, storms'!F51 | Credits, worst circuits, storms'!F52 | Credits, worst circuits, storms'!F53 | Credits, worst circuits, storms'!F54 | Credits, worst circuits, storms'!F55 | Credits, worst circuits, storms'!F56 | Credits, worst circuits, storms'!F57 | Credits, worst circuits, storms'!F58 | Credits, worst circuits, storms'!F59 | Credits, worst circuits, storms'!F60 | Credits, worst circuits, storms'!F61 | Credits, worst circuits, storms'!F62 | Credits, worst circuits, storms'!F63 | Credits, worst circuits, storms'!F64 | Credits, worst circuits, storms'!F65 | Credits, worst circuits, storms'!G46 | Credits, worst circuits, storms'!G47 | Credits, worst circuits, storms'!G48 | Credits, worst circuits, storms'!G49 | Credits, worst circuits, storms'!G50 | Credits, worst circuits, storms'!G51 | Credits, worst circuits, storms'!G52 | Credits, worst circuits, storms'!G53 | Credits, worst circuits, storms'!G54 | Credits, worst circuits, storms'!G55 | Credits, worst circuits, storms'!G56 | Credits, worst circuits, storms'!G57 | Credits, worst circuits, storms'!G58 | Credits, worst circuits, storms'!G59 | Credits, worst circuits, storms'!G60 | Credits, worst circuits, storms'!G61 | Credits, worst circuits, storms'!G62 | Credits, worst circuits, storms'!G63 | Credits, worst circuits, storms'!G64 | Credits, worst circuits, storms'!G65 | Credits, worst circuits, storms'!H46 | Credits, worst circuits, storms'!H47 | Credits, worst circuits, storms'!H48 | Credits, worst circuits, storms'!H49 | Credits, worst circuits, storms'!H50 | Credits, worst circuits, storms'!H51 | Credits, worst circuits, storms'!H52 | Credits, worst circuits, storms'!H53 | Credits, worst circuits, storms'!H54 | Credits, worst circuits, storms'!H55 | Credits, worst circuits, storms'!H56 | Credits, worst circuits, storms'!H57 | Credits, worst circuits, storms'!H58 | Credits, worst circuits, storms'!H59 | Credits, worst circuits, storms'!H60 | Credits, worst circuits, storms'!H61 | Credits, worst circuits, storms'!H62 | Credits, worst circuits, storms'!H63 | Credits, worst circuits, storms'!H64 | Credits, worst circuits, storms'!H65 | Credits, worst circuits, storms'!I46 | Credits, worst circuits, storms'!I47 | Credits, worst circuits, storms'!I48 | Credits, worst circuits, storms'!I49 | Credits, worst circuits, storms'!I50 | Credits, worst circuits, storms'!I51 | Credits, worst circuits, storms'!I52 | Credits, worst circuits, storms'!I53 | Credits, worst circuits, storms'!I54 | Credits, worst circuits, storms'!I55 | Credits, worst circuits, storms'!I56 | Credits, worst circuits, storms'!I57 | Credits, worst circuits, storms'!I58 | Credits, worst circuits, storms'!I59 | Credits, worst circuits, storms'!I60 | Credits, worst circuits, storms'!I61 | Credits, worst circuits, storms'!I62 | Credits, worst circuits, storms'!I63 | Credits, worst circuits, storms'!I64 | Credits, worst circuits, storms'!I65 | Credits, worst circuits, storms'!J46 | Credits, worst circuits, storms'!J47 | Credits, worst circuits, storms'!J48 | Credits, worst circuits, storms'!J49 | Credits, worst circuits, storms'!J50 | Credits, worst circuits, storms'!J51 | Credits, worst circuits, storms'!J52 | Credits, worst circuits, storms'!J53 | Credits, worst circuits, storms'!J54 | Credits, worst circuits, storms'!J55 | Credits, worst circuits, storms'!J56 | Credits, worst circuits, storms'!J57 | Credits, worst circuits, storms'!J58 | Credits, worst circuits, storms'!J59 | Credits, worst circuits, storms'!J60 | Credits, worst circuits, storms'!J61 | Credits, worst circuits, storms'!J62 | Credits, worst circuits, storms'!J63 | Credits, worst circuits, storms'!J64 | Credits, worst circuits, storms'!J65 | Credits, worst circuits, storms'!K46 | Credits, worst circuits, storms'!K47 | Credits, worst circuits, storms'!K48 | Credits, worst circuits, storms'!K49 | Credits, worst circuits, storms'!K50 | Credits, worst circuits, storms'!K51 | Credits, worst circuits, storms'!K52 | Credits, worst circuits, storms'!K53 | Credits, worst circuits, storms'!K54 | Credits, worst circuits, storms'!K55 | Credits, worst circuits, storms'!K56 | Credits, worst circuits, storms'!K57 | Credits, worst circuits, storms'!K58 | Credits, worst circuits, storms'!K59 | Credits, worst circuits, storms'!K60 | Credits, worst circuits, storms'!K61 | Credits, worst circuits, storms'!K62 | Credits, worst circuits, storms'!K63 | Credits, worst circuits, storms'!K64 | Credits, worst circuits, storms'!K65 | Credits, worst circuits, storms'!L46 | Credits, worst circuits, storms'!L47 | Credits, worst circuits, storms'!L48 | Credits, worst circuits, storms'!L49 | Credits, worst circuits, storms'!L50 | Credits, worst circuits, storms'!L51 | Credits, worst circuits, storms'!L52 | Credits, worst circuits, storms'!L53 | Credits, worst circuits, storms'!L54 | Credits, worst circuits, storms'!L55 | Credits, worst circuits, storms'!L56 | Credits, worst circuits, storms'!L57 | Credits, worst circuits, storms'!L58 | Credits, worst circuits, storms'!L59 | Credits, worst circuits, storms'!L60 | Credits, worst circuits, storms'!L61 | Credits, worst circuits, storms'!L62 | Credits, worst circuits, storms'!L63 | Credits, worst circuits, storms'!L64 | Credits, worst circuits, storms'!L65 | Credits, worst circuits, storms'!M46 | Credits, worst circuits, storms'!M47 | Credits, worst circuits, storms'!M48 | Credits, worst circuits, storms'!M49 | Credits, worst circuits, storms'!M50 | Credits, worst circuits, storms'!M51 | Credits, worst circuits, storms'!M52 | Credits, worst circuits, storms'!M53 | Credits, worst circuits, storms'!M54 | Credits, worst circuits, storms'!M55 | Credits, worst circuits, storms'!M56 | Credits, worst circuits, storms'!M57 | Credits, worst circuits, storms'!M58 | Credits, worst circuits, storms'!M59 | Credits, worst circuits, storms'!M60 | Credits, worst circuits, storms'!M61 | Credits, worst circuits, storms'!M62 | Credits, worst circuits, storms'!M63 | Credits, worst circuits, storms'!M64 | Credits, worst circuits, storms'!M65