## Credits, worst circuits, storms
RELIABILITY DATA TEMPLATE
Utility: | Upper Peninsula Power Co. |  |  | □ Required Fields
Reporting Month: | 2023-10-31 |  |  | ■ Optional Fields
CUSTOMER CREDITS PROVIDED DURING THE MONTH
Item |  | Sector | Number of Customers Eligible for Credits | Total Customer Credits ($)
Customer Credits Provided for Failure to Restore Service within 96 Hours of the Start of Sustained Interruption during Catastrophic Conditions |  | Residential
Commercial
Industrial
Customer Credits Provided for Failure to Restore Service within 48 Hours of the Start of Sustained Interruption during Gray Sky Conditions |  | Residential
Commercial
Industrial
Customer Credits Provided for Failure to Restore Service within 16 Hours of the Start of Sustained Interruption during Normal Conditions |  | Residential
Commercial
Industrial
Customer Credits Provided to Individual Customers Who Experienced 6 or more Sustained Interruptions. |  | Residential
Commercial
Industrial
WORST PERFORMING CIRCUITS DURING THE MONTH AND YEAR
(1) For each electric utility with 1,000,000 or more customers, a list of its 10 worst performing circuits for the prior month in terms of SAIDI and SAIFI. For each listed circuit, provide the following information below.
(2) For each electric utility or cooperative with less than 1,000,000 customers, a list of the worst performing 1% of circuits for the prior month in terms of SAIDI and SAIFI. For each listed circuit, provide the following information below.
SAIDI
Item/Area |  | Circuit 1
Circuit Name |  | Barnum(C-Ishpeming)
Circuit Number |  | 1205
Circuit Length (miles) |  | 82.4
SAIDI all weather (monthly) | Residential | 12.2205
| Commercial | 1.466
| Industrial | 0.01187
| Overall | 13.6983
Number of Customers Served | Residential | 2059
| Commercial | 247
| Industrial | 2
Substation Name |  | Barnum
Location of Circuit Span - Zip Codes |  | 49849 49866
Location of Circuit Span - Census Tracts |  | 26103001700 26103001800 26103001900 26103002000
Last Circuit Trim (year) |  | 2022-06-30
List of Outages and Causes |  | I23100800027 Unknown I23100800029 Unknown I23100800030 Unknown I23100800031 Unknown I23100800035 Unknown I23100800040 Unknown
SAIFI
Item/Area |  | Circuit 1
Circuit Name |  | Barnum (Ishpeming City)
Circuit Number |  | 1205
Circuit Length (miles) |  | 82.4
SAIFI all weather (monthly) | Residential | 0.12121
| Commercial | 0.014541
| Industrial | 0.00011774
| Overall | 0.13587
Number of Customers Served | Residential | 2059
| Commercial | 247
| Industrial | 2
Substation Name |  | Barnum
Location of Circuit Span - Zip Codes |  | 49849 49866
Location of Circuit Span - Census Tracts |  | 26103001700 26103001800 26103001900 26103002000
Last Circuit Trim (year) |  | 2022-06-30
List of Outages and Causes |  | I23100800027 Unknown I23100800029 Unknown I23100800030 Unknown I23100800031 Unknown I23100800035 Unknown I23100800040 Unknown
|  | CEMI1 | CEMI2 | CEMI3 | CEMI4 | CEMI5 | CEMI6 | CEMI7 | CEMI8 | CEMI9 | CEMI10
Number of CEMI Reporting for Indices CEMI0 through CEMI10+ (number of customers, monthly)
Number of CEMI Reporting for Indices CEMI0 through CEMI10+ (number of customers, year-to-date)
Number of CELID Reporting for Indices: | CELID8hours | CEMI1: 0
| CELID24hours | CEMI1: 0
| CELID48hours | CEMI1: 0
Number of Non-Residential Customers Experiencing Momentary Interruptions
Storm Outage | Storm #1 | CEMI1: Storm #2; CEMI2: Storm #3; CEMI3: Storm #4; CEMI4: Storm #5
Storm Name
Date Storm Began
Date Storm Ended
Storm Type
Customers Interrupted (#)
Storm Duration (hours)
Duration of restoration efforts (hours)
Date restoration efforts ended
spent per event ($)
paid in outage credits ($)
Non-baseload resources requested (Y/N)
Company linemen used (#)
contractor workers used (#)
non-baseload workers used (#)
Company crews used (#)
Contractor crews used (#)
Non-baseload crews used (#)
Wire down personnel used (#)
Downed wires
Non-baseload resources cost ($)

## System Reliability Data
RELIABILITY DATA TEMPLATE
Utility: | Upper Peninsula Power Co. |  |  | □ Required Fields
Reporting Month: | 2023-10-31 |  |  | ■ Optional Fields
OVERALL RELIABILITY DATA
| Meter Reading Factor R460.732 (a) | New Service Installation Factor R460.732(b) | Wire Down Relief Factor R460.732 (c) |  | Outage Restoration |  |  |  | CEMI4 | Line Clearing/ Tree Trimming | [5 empty] | Total Customer outages | Outage Causes | [9 empty] | Reliability Metrics (all weather)
[5 empty] | All Conditions R460.732 (d) | Normal Conditions R460.732 (e) | Gray-Sky Conditions R460.732 (f) | Catastrophic Conditions R460.732 (g) | Sustained Interruptions R460.732 (h(i)) | [7 empty] | Equipment | Lightning | Planned | Power Supply | Public | Vegetation | Weather (other than lightning) | Wildlife | Unknown | Other | SAIDI | SAIFI | CAIDI | ASAI | MAIFI
Service Territory as a Whole | Meter Reading Factor (Percentage) | New Services Installed in 15 Business Days or Less (Percentage) | The percentage of the first responder guarded downed wires that are relieved by an electric utility representative within 120 minutes after notification in MSAs. | The percentage of the first responder guarded downed wires that are relieved by an electric utility representative within 180 minutes after notification in non-MSAs. | Percentage of Customers Restored in 36 Hours or Less | Percentage of Customers Restored in 8 Hours or Less | Percentage of Customers Restored in 24 Hours or Less | Percentage of Customers Restored in 48 Hours or Less | Number of Customers Experiencing 4 or More Sustained Interruptions | Amount of Line Cleared (miles) | Capital Spend ($) | O&M Spend ($) | Quarterly Line Clearing Target (miles) | Quarterly Line Clearing Target (% of internal target met) | Cumulative Line Clearing Target (%) | Total Customer outages | Total number of outages causes by equipment failure | Total number of outages caused by lightning | Total number of planned and forced outages | Total number of outages caused by transmission or generation failure | Total number of outages caused by an act of the public at large | Total number of outages caused by trees | Total number of outage caused by weather | Total number of outages caued by animal interference | Total number of outages caused by unknonwn causes | Total number of outages caused by other causes | System Average Interruption Duration Index | System Average Interruption Frequency Index | Customer Average Interruption Duration Index (contribution to total CAIDI) | Average Service Availability Index | Momentary Average Interruption Frequency Index
Service Territory (Month) | 99.79% | 98.55% |  | 100% | 100% | 100% |  |  |  | 20.7 |  | 238028 | 93 | 22.26% |  | 9698 | 475 | 3 | 174 |  | 13 | 378 | 1 | 226 | 8428 |  | 16.4973 | 0.16467 | 100.186 | 0.99963
Service Territory (Year to Date) | 99.88% | 98.97% |  | 100% | 98.98% | 99.87% | 100% | 98.51% |  | 306.8 |  | 2678350 | 372 | 82.47% | 82.47% | 73864 | 10167 | 328 | 2338 |  | 2389 | 29582 | 11421 | 3681 | 12337 | 1621 | 393.4815 | 1.2544 | 313.6705 | 0.9991
MPSC Annual Performance Standard | 95% or more | 90% or more completed within 15 business days | 90% or more within 120 minutes in MSAs | 90% or more within 180 minutes in non-MSAs | 90% or more customers restored in 36 hours or less | 90% or more customers restored in 8 hours or less | 90% or more customers restored in 24 hours or less | 90% or more customers restored in 48 hours or less | 6% or less before 2030; 5% or less in 2030 or later
For electric utilities with greater than 100,000 customers, please provide a summary of progress toward achieving a targeted line clearing cycle.

## Circuit
RELIABILITY DATA TEMPLATE
Utility: | Upper Peninsula Power Co. |  |  | □ Required Fields
Reporting Month: | 2023-10-31 |  |  | ■ Optional Fields
RELIABILITY DATA REPORTED BY CIRCUIT
|  | Meter Reading Factor R460.732 (a) | New Service Installation Factor R460.732(b) | Wire Down Relief Factor R460.732 (c) |  | Outage Restoration |  |  |  | CEMI4 | Line Clearing/ Tree Trimming | [5 empty] | Total Customer outages | Outage Causes | [9 empty] | Reliability Metrics (all weather)
[6 empty] | All Conditions R460.732 (d) | Normal Conditions R460.732 (e) | Gray-Sky Conditions R460.732 (f) | Catastrophic Conditions R460.732 (g) | Sustained Interruptions R460.732 (h(i)) | [7 empty] | Equipment | Lightning | Planned | Power Supply | Public | Vegetation | Weather (other than lightning) | Wildlife | Unknown | Other | SAIDI | SAIFI | CAIDI | ASAI | MAIFI
Circuit or Geographical Area | Circuit or Area Name | Meter Reading Factor (Percentage) | New Services Installed in 15 Business Days or Less (Percentage) | The percentage of the first responder guarded downed wires that are relieved by an electric utility representative within 120 minutes after notification in MSAs. | The percentage of the first responder guarded downed wires that are relieved by an electric utility representative within 180 minutes after notification in non-MSAs. | Percentage of Customers Restored in 36 Hours or Less | Percentage of Customers Restored in 8 Hours or Less | Percentage of Customers Restored in 24 Hours or Less | Percentage of Customers Restored in 48 Hours or Less | Number of Customers Experiencing 4 or More Sustained Interruptions | Amount of Line Cleared (miles) | Capital Spend ($) | O&M Spend ($) | Quarterly Line Clearing Target (miles) | Quarterly Line Clearing Target (% of internal target met) | Cumulative Line Clearing Target (%) | Total Customer outages | Total number of outages causes by equipment failure | Total number of outages caused by lightning | Total number of planned and forced outages | Total number of outages caused by transmission or generation failure | Total number of outages caused by an act of the public at large | Total number of outages caused by trees | Total number of outages caused by wind, snow, ice, hail, and rain | Total number of outages caued by animal interference | Total number of outages caused by unknonwn causes | Total number of outages caused by other causes | System Average Interruption Duration Index | System Average Interruption Frequency Index | Customer Average Interruption Duration Index (contribution to total CAIDI) | Average Service Availability Index | Momentary Average Interruption Frequency Index
Area | 21 - Houghton |  |  |  | 100% | 100% | 100% |  |  |  | 1.8 | [5 empty] | 273 | 45 |  | 14 |  | 5 | 29 | 1 | 111 | 68 |  | 0.52525 | 0.004636 | 3.19 | 100%
Area | 24 - Iron River |  |  |  | 100% | 100% | 100% | [9 empty] | 2 |  |  | 2 | [7 empty] | 0.004392 | 3.4e-05 | 0.026673 | 100%
Area | 25 - Ontonagon |  |  |  | 100% | 100% | 100% |  |  |  | 5 | [5 empty] | 182 | 143 |  | 5 |  |  |  |  | 34 |  |  | 0.46803 | 0.003089 | 2.843 | 99.98%
Area | 26 - Ishpeming |  |  |  | 100% | 100% | 100% |  |  |  | 4.3 | [5 empty] | 8798 | 108 |  | 42 |  | 1 | 245 |  | 73 | 8329 |  | 15.1017 | 0.14938 | 91.7094 | 99.86%
Area | 27 - Munising |  |  |  | 100% | 100% | 100% |  |  |  | 9.4 | [5 empty] | 291 | 149 | 2 | 68 |  | 7 | 45 |  | 3 | 17 |  | 0.23783 | 0.004942 | 1.4444 | 99.99%
Area | 28 - Delta |  |  |  | 100% | 100% | 100% |  |  |  | 0.2 | [5 empty] | 152 | 30 | 1 | 43 |  |  | 59 |  | 5 | 14 |  | 0.16009 | 0.002582 | 0.97243 | 100%
MPSC Annual Performance Standard |  | 95% or more | 90% or more completed within 15 business days | 90% or more within 120 minutes in MSAs | 90% or more within 180 minutes in non-MSAs | 90% or more customers restored in 36 hours or less | 90% or more customers restored in 8 hours or less | 90% or more customers restored in 24 hours or less | 90% or more customers restored in 48 hours or less | 6% or less before 2030; 5% or less in 2030 or later

## Zip Code
RELIABILITY DATA TEMPLATE
Utility: | Upper Peninsula Power Co. |  |  | □ Required Fields
Reporting Month: | 2023-10-31 |  |  | ■ Optional Fields
RELIABILITY DATA REPORTED BY ZIP CODE
| Meter Reading Factor R460.732 (a) | New Service Installation Factor R460.732(b) | Wire Down Relief Factor R460.732 (c) |  | Outage Restoration |  |  |  | CEMI4 | Line Clearing/ Tree Trimming | [5 empty] | Total Customer outages | Outage Causes | [9 empty] | Reliability Metrics (all weather)
[5 empty] | All Conditions R460.732 (d) | Normal Conditions R460.732 (e) | Gray-Sky Conditions R460.732 (f) | Catastrophic Conditions R460.732 (g) | Sustained Interruptions R460.732 (h(i)) | [7 empty] | Equipment | Lightning | Planned | Power Supply | Public | Vegetation | Weather (other than lightning) | Wildlife | Unknown | Other | SAIDI | SAIFI | CAIDI | ASAI | MAIFI
Zip Code | Meter Reading Factor (Percentage) | New Services Installed in 15 Business Days or Less (Percentage) | The percentage of the first responder guarded downed wires that are relieved by an electric utility representative within 120 minutes after notification in MSAs. | The percentage of the first responder guarded downed wires that are relieved by an electric utility representative within 180 minutes after notification in non-MSAs. | Percentage of Customers Restored in 36 Hours or Less | Percentage of Customers Restored in 8 Hours or Less | Percentage of Customers Restored in 24 Hours or Less | Percentage of Customers Restored in 48 Hours or Less | Number of Customers Experiencing 4 or More Sustained Interruptions | Amount of Line Cleared (miles) | Capital Spend ($) | O&M Spend ($) | Quarterly Line Clearing Target (miles) | Quarterly Line Clearing Target (% of internal target met) | Cumulative Line Clearing Target (%) | Total Customer outages | Total number of outages causes by equipment failure | Total number of outages caused by lightning | Total number of planned and forced outages | Total number of outages caused by transmission or generation failure | Total number of outages caused by an act of the public at large | Total number of outages caused by trees | Total number of outages caused by wind, snow, ice, hail, and rain | Total number of outages caued by animal interference | Total number of outages caused by unknonwn causes | Total number of outages caused by other causes | System Average Interruption Duration Index | System Average Interruption Frequency Index | Customer Average Interruption Duration Index (contribution to total CAIDI) | Average Service Availability Index | Momentary Average Interruption Frequency Index
Zip Code 1
Zip Code 2
Zip Code 3
Zip Code 4
Zip Code 5
Zip Code 6
Zip Code 7
Zip Code 8
Zip Code 9
Zip Code 10
MPSC Annual Performance Standard | 95% or more | 90% or more completed within 15 business days | 90% or more within 120 minutes in MSAs | 90% or more within 180 minutes in non-MSAs | 90% or more customers restored in 36 hours or less | 90% or more customers restored in 8 hours or less | 90% or more customers restored in 24 hours or less | 90% or more customers restored in 48 hours or less | 6% or less before 2030; 5% or less in 2030 or later

## Census Tract
RELIABILITY DATA TEMPLATE
Utility: | Upper Peninsula Power Co. |  |  | □ Required Fields
Reporting Month: | 2023-10-31 |  |  | ■ Optional Fields
Census Tract Year:
RELIABILITY DATA REPORTED BY CENSUS TRACT
| Meter Reading Factor R460.732 (a) | New Service Installation Factor R460.732(b) | Wire Down Relief Factor R460.732 (c) |  | Outage Restoration |  |  |  | CEMI4 | Line Clearing/ Tree Trimming | [5 empty] | Total Customer outages | Outage Causes | [9 empty] | Reliability Metrics (all weather)
[5 empty] | All Conditions R460.732 (d) | Normal Conditions R460.732 (e) | Gray-Sky Conditions R460.732 (f) | Catastrophic Conditions R460.732 (g) | Sustained Interruptions R460.732 (h(i)) | [7 empty] | Equipment | Lightning | Planned | Power Supply | Public | Vegetation | Weather (other than lightning) | Wildlife | Unknown | Other | SAIDI | SAIFI | CAIDI | ASAI | MAIFI
Census Tract Number | Meter Reading Factor (Percentage) | New Services Installed in 15 Business Days or Less (Percentage) | The percentage of the first responder guarded downed wires that are relieved by an electric utility representative within 120 minutes after notification in MSAs. | The percentage of the first responder guarded downed wires that are relieved by an electric utility representative within 180 minutes after notification in non-MSAs. | Percentage of Customers Restored in 36 Hours or Less | Percentage of Customers Restored in 8 Hours or Less | Percentage of Customers Restored in 24 Hours or Less | Percentage of Customers Restored in 48 Hours or Less | Number of Customers Experiencing 4 or More Sustained Interruptions | Amount of Line Cleared (miles) | Capital Spend ($) | O&M Spend ($) | Quarterly Line Clearing Target (miles) | Quarterly Line Clearing Target (% of internal target met) | Cumulative Line Clearing Target (%) | Total Customer outages | Total number of outages causes by equipment failure | Total number of outages caused by lightning | Total number of planned and forced outages | Total number of outages caused by transmission or generation failure | Total number of outages caused by an act of the public at large | Total number of outages caused by trees | Total number of outages caused by wind, snow, ice, hail, and rain | Total number of outages caued by animal interference | Total number of outages caused by unknonwn causes | Total number of outages caused by other causes | System Average Interruption Duration Index | System Average Interruption Frequency Index | Customer Average Interruption Duration Index (contribution to total CAIDI) | Average Service Availability Index | Momentary Average Interruption Frequency Index
Census Tract 1
Census Tract 2
Census Tract 3
Census Tract 4
Census Tract 5
Census Tract 6
Census Tract 7
Census Tract 8
Census Tract 9
Census Tract 10
MPSC Annual Performance Standard | 95% or more | 90% or more completed within 15 business days | 90% or more within 120 minutes in MSAs | 90% or more within 180 minutes in non-MSAs | 90% or more customers restored in 36 hours or less | 90% or more customers restored in 8 hours or less | 90% or more customers restored in 24 hours or less | 90% or more customers restored in 48 hours or less | 6% or less before 2030; 5% or less in 2030 or later

## SourceData
Utility_Name | Reporting Periods | Storm Type | Year Picker
Alpena Power Co. | 2024-01-31 | Wind | 2024-06-30
Citizens Gas Fuel Co. | 2023-12-31 | Ice | 2023-06-30
Consumers Energy Co. | 2023-11-30 | Rain | 2022-06-30
DTE Energy Co. | 2023-10-31 | Thunderstorm | 2021-06-30
Indiana Michigan Power Co. | 2023-09-30 | Snow | 2020-06-30
Michigan Gas Utilities | 2023-08-31 | Combination | 2019-06-30
Northern States Power Co. (Xcel) | 2023-07-31 |  | 2018-06-30
Semco Energy Gas Co. | 2023-06-30 |  | 2017-06-30
Upper Michigan Energy Resources | 2023-05-31 |  | 2016-06-30
Upper Peninsula Power Co. | 2023-04-30 |  | 2015-06-30
Z-Test-Utility | 2023-03-31 |  | 2014-06-30
| 2023-02-28 |  | 2013-06-30
| 2023-01-31 |  | 2012-06-30
| 2022-12-31 |  | 2011-06-30
| 2022-11-30 |  | 2010-06-30
| 2022-09-30 |  | 2009-06-30
| 2022-10-31 |  | 2008-06-30
| 2022-08-31 |  | 2007-06-30
| 2022-07-31 |  | 2006-06-30
2005-06-30
2004-06-30
2003-06-30
2002-06-30
2001-06-30
2000-06-30
1999-06-30
1998-06-30
1997-06-30
1996-06-30
1995-06-30
1994-06-30
1993-06-30
1992-06-30
1991-06-30
1990-06-30
1989-06-30
1988-06-30
1987-06-30
1986-06-30
1985-06-30
1984-06-30
1983-06-30
1982-06-30
1981-06-30
1980-06-30
1979-06-30
1978-06-30
1977-06-30
1976-06-30
1975-06-30
1974-06-30
Formulas:
Year Picker = DATE(YEAR([Year Picker, row above])-1, 6, 30)

## NormalizedData
Title | Utility | Reporting_Period | Cred_96_R_N | Cred_96_C_N | Cred_96_I_N | Cred_48_R_N | Cred_48_C_N | Cred_48_I_N | Cred_16_R_N | Cred_16_C_N | Cred_16_I_N | Cred_6_R_N | Cred_6_C_N | Cred_6_I_N | Cred_96_R_Dol | Cred_96_C_Dol | Cred_96_I_Dol | Cred_48_R_Dol | Cred_48_C_Dol | Cred_48_I_Dol | Cred_16_R_Dol | Cred_16_C_Dol | Cred_16_I_Dol | Cred_6_R_Dol | Cred_6_C_Dol | Cred_6_I_Dol | CEMI1_M | CEMI1_YTD | CEMI2_M | CEMI2_YTD | CEMI3_M | CEMI3_YTD | CEMI4_M | CEMI4_YTD | CEMI5_M | CEMI5_YTD | CEMI6_M | CEMI6_YTD | CEMI7_M | CEMI7_YTD | CEMI8_M | CEMI8_YTD | CEMI9_M | CEMI9_YTD | CEMI10_M | CEMI10_YTD | CELID8hours | CELID24hours | CELID48hours | CELID_MI | S1_Name | S1_DB | S1_DE | S1_Type | S1_NCI | S1_SD | S1_RED | S1_RE_DE | S1_M_Spent | S1_M_OC | S1_NBRR | S1_NCL | S1_NConW | S1_NBW | S1_NCC | S1_NConC | S1_NBC | S1_NWD | S1_DW | S1_NBRC | S2_Name | S2_DB | S2_DE | S2_Type | S2_NCI | S2_SD | S2_RED | S2_RE_DE | S2_M_Spent | S2_M_OC | S2_NBRR | S2_NCL | S2_NConW | S2_NBW | S2_NCC | S2_NConC | S2_NBC | S2_NWD | S2_DW | S2_NBRC | S3_Name | S3_DB | S3_DE | S3_Type | S3_NCI | S3_SD | S3_RED | S3_RE_DE | S3_M_Spent | S3_M_OC | S3_NBRR | S3_NCL | S3_NConW | S3_NBW | S3_NCC | S3_NConC | S3_NBC | S3_NWD | S3_DW | S3_NBRC | S4_Name | S4_DB | S4_DE | S4_Type | S4_NCI | S4_SD | S4_RED | S4_RE_DE | S4_M_Spent | S4_M_OC | S4_NBRR | S4_NCL | S4_NConW | S4_NBW | S4_NCC | S4_NConC | S4_NBC | S4_NWD | S4_DW | S4_NBRC | S5_Name | S5_DB | S5_DE | S5_Type | S5_NCI | S5_SD | S5_RED | S5_RE_DE | S5_M_Spent | S5_M_OC | S5_NBRR | S5_NCL | S5_NConW | S5_NBW | S5_NCC | S5_NConC | S5_NBC | S5_NWD | S5_DW | S5_NBRC
U-21122 Response Data | Upper Peninsula Power Co. | 45230 | [44 empty] | 0 | 0 | 0
Title | Utility | Reporting_Period | Cred_96_R_N | Cred_96_C_N | Cred_96_I_N | Cred_48_R_N | Cred_48_C_N | Cred_48_I_N | Cred_16_R_N | Cred_16_C_N | Cred_16_I_N | Cred_6_R_N | Cred_6_C_N | Cred_6_I_N | Cred_96_R_Dol | Cred_96_C_Dol | Cred_96_I_Dol | Cred_48_R_Dol | Cred_48_C_Dol | Cred_48_I_Dol | Cred_16_R_Dol | Cred_16_C_Dol | Cred_16_I_Dol | Cred_6_R_Dol | Cred_6_C_Dol | Cred_6_I_Dol | CEMI1_M | CEMI1_YTD | CEMI2_M | CEMI2_YTD | CEMI3_M | CEMI3_YTD | CEMI4_M | CEMI4_YTD | CEMI5_M | CEMI5_YTD | CEMI6_M | CEMI6_YTD | CEMI7_M | CEMI7_YTD | CEMI8_M | CEMI8_YTD | CEMI9_M | CEMI9_YTD | CEMI10_M | CEMI10_YTD | CELID8hours | CELID24hours | CELID48hours | CELID_MI | S1_Name | S1_DB | S1_DE | S1_Type | S1_NCI | S1_SD | S1_RED | S1_RE_DE | S1_M_Spent | S1_M_OC | S1_NBRR | S1_NCL | S1_NConW | S1_NBW | S1_NCC | S1_NConC | S1_NBC | S1_NWD | S1_DW | S1_NBRC | S2_Name | S2_DB | S2_DE | S2_Type | S2_NCI | S2_SD | S2_RED | S2_RE_DE | S2_M_Spent | S2_M_OC | S2_NBRR | S2_NCL | S2_NConW | S2_NBW | S2_NCC | S2_NConC | S2_NBC | S2_NWD | S2_DW | S2_NBRC | S3_Name | S3_DB | S3_DE | S3_Type | S3_NCI | S3_SD | S3_RED | S3_RE_DE | S3_M_Spent | S3_M_OC | S3_NBRR | S3_NCL | S3_NConW | S3_NBW | S3_NCC | S3_NConC | S3_NBC | S3_NWD | S3_DW | S3_NBRC | S4_Name | S4_DB | S4_DE | S4_Type | S4_NCI | S4_SD | S4_RED | S4_RE_DE | S4_M_Spent | S4_M_OC | S4_NBRR | S4_NCL | S4_NConW | S4_NBW | S4_NCC | S4_NConC | S4_NBC | S4_NWD | S4_DW | S4_NBRC | S5_Name | S5_DB | S5_DE | S5_Type | S5_NCI | S5_SD | S5_RED | S5_RE_DE | S5_M_Spent | S5_M_OC | S5_NBRR | S5_NCL | S5_NConW | S5_NBW | S5_NCC | S5_NConC | S5_NBC | S5_NWD | S5_DW | S5_NBRC
Linked | Upper Peninsula Power Co. | 2023-10-31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Static | Credits, worst circuits, storms'!C3 | Credits, worst circuits, storms'!C4 | Credits, worst circuits, storms'!E8 | Credits, worst circuits, storms'!E9 | Credits, worst circuits, storms'!E10 | Credits, worst circuits, storms'!E11 | Credits, worst circuits, storms'!E12 | Credits, worst circuits, storms'!E13 | Credits, worst circuits, storms'!E14 | Credits, worst circuits, storms'!E15 | Credits, worst circuits, storms'!E16 | Credits, worst circuits, storms'!E17 | Credits, worst circuits, storms'!E18 | Credits, worst circuits, storms'!E19 | Credits, worst circuits, storms'!F8 | Credits, worst circuits, storms'!F9 | Credits, worst circuits, storms'!F10 | Credits, worst circuits, storms'!F11 | Credits, worst circuits, storms'!F12 | Credits, worst circuits, storms'!F13 | Credits, worst circuits, storms'!F14 | Credits, worst circuits, storms'!F15 | Credits, worst circuits, storms'!F16 | Credits, worst circuits, storms'!F17 | Credits, worst circuits, storms'!F18 | Credits, worst circuits, storms'!F19 | Credits, worst circuits, storms'!D60 | Credits, worst circuits, storms'!D61 | Credits, worst circuits, storms'!E60 | Credits, worst circuits, storms'!E61 | Credits, worst circuits, storms'!F60 | Credits, worst circuits, storms'!F61 | Credits, worst circuits, storms'!G60 | Credits, worst circuits, storms'!G61 | Credits, worst circuits, storms'!H60 | Credits, worst circuits, storms'!H61 | Credits, worst circuits, storms'!I60 | Credits, worst circuits, storms'!I61 | Credits, worst circuits, storms'!J60 | Credits, worst circuits, storms'!J61 | Credits, worst circuits, storms'!K60 | Credits, worst circuits, storms'!K61 | Credits, worst circuits, storms'!L60 | Credits, worst circuits, storms'!L61 | Credits, worst circuits, storms'!M60 | Credits, worst circuits, storms'!M61 | Credits, worst circuits, storms'!D63 | Credits, worst circuits, storms'!D64 | Credits, worst circuits, storms'!D65 | Credits, worst circuits, storms'!D66 | Credits, worst circuits, storms'!C69 | Credits, worst circuits, storms'!C70 | Credits, worst circuits, storms'!C71 | Credits, worst circuits, storms'!C72 | Credits, worst circuits, storms'!C73 | Credits, worst circuits, storms'!C74 | Credits, worst circuits, storms'!C75 | Credits, worst circuits, storms'!C76 | Credits, worst circuits, storms'!C77 | Credits, worst circuits, storms'!C78 | Credits, worst circuits, storms'!C79 | Credits, worst circuits, storms'!C80 | Credits, worst circuits, storms'!C81 | Credits, worst circuits, storms'!C82 | Credits, worst circuits, storms'!C83 | Credits, worst circuits, storms'!C84 | Credits, worst circuits, storms'!C85 | Credits, worst circuits, storms'!C86 | Credits, worst circuits, storms'!C87 | Credits, worst circuits, storms'!C88 | Credits, worst circuits, storms'!D69 | Credits, worst circuits, storms'!D70 | Credits, worst circuits, storms'!D71 | Credits, worst circuits, storms'!D72 | Credits, worst circuits, storms'!D73 | Credits, worst circuits, storms'!D74 | Credits, worst circuits, storms'!D75 | Credits, worst circuits, storms'!D76 | Credits, worst circuits, storms'!D77 | Credits, worst circuits, storms'!D78 | Credits, worst circuits, storms'!D79 | Credits, worst circuits, storms'!D80 | Credits, worst circuits, storms'!D81 | Credits, worst circuits, storms'!D82 | Credits, worst circuits, storms'!D83 | Credits, worst circuits, storms'!D84 | Credits, worst circuits, storms'!D85 | Credits, worst circuits, storms'!D86 | Credits, worst circuits, storms'!D87 | Credits, worst circuits, storms'!D88 | Credits, worst circuits, storms'!E69 | Credits, worst circuits, storms'!E70 | Credits, worst circuits, storms'!E71 | Credits, worst circuits, storms'!E72 | Credits, worst circuits, storms'!E73 | Credits, worst circuits, storms'!E74 | Credits, worst circuits, storms'!E75 | Credits, worst circuits, storms'!E76 | Credits, worst circuits, storms'!E77 | Credits, worst circuits, storms'!E78 | Credits, worst circuits, storms'!E79 | Credits, worst circuits, storms'!E80 | Credits, worst circuits, storms'!E81 | Credits, worst circuits, storms'!E82 | Credits, worst circuits, storms'!E83 | Credits, worst circuits, storms'!E84 | Credits, worst circuits, storms'!E85 | Credits, worst circuits, storms'!E86 | Credits, worst circuits, storms'!E87 | Credits, worst circuits, storms'!E88 | Credits, worst circuits, storms'!F69 | Credits, worst circuits, storms'!F70 | Credits, worst circuits, storms'!F71 | Credits, worst circuits, storms'!F72 | Credits, worst circuits, storms'!F73 | Credits, worst circuits, storms'!F74 | Credits, worst circuits, storms'!F75 | Credits, worst circuits, storms'!F76 | Credits, worst circuits, storms'!F77 | Credits, worst circuits, storms'!F78 | Credits, worst circuits, storms'!F79 | Credits, worst circuits, storms'!F80 | Credits, worst circuits, storms'!F81 | Credits, worst circuits, storms'!F82 | Credits, worst circuits, storms'!F83 | Credits, worst circuits, storms'!F84 | Credits, worst circuits, storms'!F85 | Credits, worst circuits, storms'!F86 | Credits, worst circuits, storms'!F87 | Credits, worst circuits, storms'!F88 | Credits, worst circuits, storms'!G69 | Credits, worst circuits, storms'!G70 | Credits, worst circuits, storms'!G71 | Credits, worst circuits, storms'!G72 | Credits, worst circuits, storms'!G73 | Credits, worst circuits, storms'!G74 | Credits, worst circuits, storms'!G75 | Credits, worst circuits, storms'!G76 | Credits, worst circuits, storms'!G77 | Credits, worst circuits, storms'!G78 | Credits, worst circuits, storms'!G79 | Credits, worst circuits, storms'!G80 | Credits, worst circuits, storms'!G81 | Credits, worst circuits, storms'!G82 | Credits, worst circuits, storms'!G83 | Credits, worst circuits, storms'!G84 | Credits, worst circuits, storms'!G85 | Credits, worst circuits, storms'!G86 | Credits, worst circuits, storms'!G87 | Credits, worst circuits, storms'!G88
Title | Utility | Reporting_Period | C1_SAIDI_I-A | C1_SAIDI_CName | C1_SAIDI_CNum | C1_SAIDI_MCL | C1_SAIDI_M_W_R | C1_SAIDI_M_W_C | C1_SAIDI_M_W_I | C1_SAIDI_M_W_O | C1_SAIDI_A_ExMED_R | C1_SAIDI_A_ExMED_C | C1_SAIDI_A_ExMED_I | C1_SAIDI_A_ExMED_O | C1_SAIDI_CS_R | C1_SAIDI_CS_C | C1_SAIDI_CS_I | C1_SAIDI_Sub_Name | C1_SAIDI_S_ZC | C1_SAIDI_S_CT | C1_SAIDI_LCT | C1_SAIDI_LOC | C2_SAIDI_I-A | C2_SAIDI_CName | C2_SAIDI_CNum | C2_SAIDI_MCL | C2_SAIDI_M_W_R | C2_SAIDI_M_W_C | C2_SAIDI_M_W_I | C2_SAIDI_M_W_O | C2_SAIDI_A_ExMED_R | C2_SAIDI_A_ExMED_C | C2_SAIDI_A_ExMED_I | C2_SAIDI_A_ExMED_O | C2_SAIDI_CS_R | C2_SAIDI_CS_C | C2_SAIDI_CS_I | C2_SAIDI_Sub_Name | C2_SAIDI_S_ZC | C2_SAIDI_S_CT | C2_SAIDI_LCT | C2_SAIDI_LOC | C3_SAIDI_I-A | C3_SAIDI_CName | C3_SAIDI_CNum | C3_SAIDI_MCL | C3_SAIDI_M_W_R | C3_SAIDI_M_W_C | C3_SAIDI_M_W_I | C3_SAIDI_M_W_O | C3_SAIDI_A_ExMED_R | C3_SAIDI_A_ExMED_C | C3_SAIDI_A_ExMED_I | C3_SAIDI_A_ExMED_O | C3_SAIDI_CS_R | C3_SAIDI_CS_C | C3_SAIDI_CS_I | C3_SAIDI_Sub_Name | C3_SAIDI_S_ZC | C3_SAIDI_S_CT | C3_SAIDI_LCT | C3_SAIDI_LOC | C4_SAIDI_I-A | C4_SAIDI_CName | C4_SAIDI_CNum | C4_SAIDI_MCL | C4_SAIDI_M_W_R | C4_SAIDI_M_W_C | C4_SAIDI_M_W_I | C4_SAIDI_M_W_O | C4_SAIDI_A_ExMED_R | C4_SAIDI_A_ExMED_C | C4_SAIDI_A_ExMED_I | C4_SAIDI_A_ExMED_O | C4_SAIDI_CS_R | C4_SAIDI_CS_C | C4_SAIDI_CS_I | C4_SAIDI_Sub_Name | C4_SAIDI_S_ZC | C4_SAIDI_S_CT | C4_SAIDI_LCT | C4_SAIDI_LOC | C5_SAIDI_I-A | C5_SAIDI_CName | C5_SAIDI_CNum | C5_SAIDI_MCL | C5_SAIDI_M_W_R | C5_SAIDI_M_W_C | C5_SAIDI_M_W_I | C5_SAIDI_M_W_O | C5_SAIDI_A_ExMED_R | C5_SAIDI_A_ExMED_C | C5_SAIDI_A_ExMED_I | C5_SAIDI_A_ExMED_O | C5_SAIDI_CS_R | C5_SAIDI_CS_C | C5_SAIDI_CS_I | C5_SAIDI_Sub_Name | C5_SAIDI_S_ZC | C5_SAIDI_S_CT | C5_SAIDI_LCT | C5_SAIDI_LOC | C6_SAIDI_I-A | C6_SAIDI_CName | C6_SAIDI_CNum | C6_SAIDI_MCL | C6_SAIDI_M_W_R | C6_SAIDI_M_W_C | C6_SAIDI_M_W_I | C6_SAIDI_M_W_O | C6_SAIDI_A_ExMED_R | C6_SAIDI_A_ExMED_C | C6_SAIDI_A_ExMED_I | C6_SAIDI_A_ExMED_O | C6_SAIDI_CS_R | C6_SAIDI_CS_C | C6_SAIDI_CS_I | C6_SAIDI_Sub_Name | C6_SAIDI_S_ZC | C6_SAIDI_S_CT | C6_SAIDI_LCT | C6_SAIDI_LOC | C7_SAIDI_I-A | C7_SAIDI_CName | C7_SAIDI_CNum | C7_SAIDI_MCL | C7_SAIDI_M_W_R | C7_SAIDI_M_W_C | C7_SAIDI_M_W_I | C7_SAIDI_M_W_O | C7_SAIDI_A_ExMED_R | C7_SAIDI_A_ExMED_C | C7_SAIDI_A_ExMED_I | C7_SAIDI_A_ExMED_O | C7_SAIDI_CS_R | C7_SAIDI_CS_C | C7_SAIDI_CS_I | C7_SAIDI_Sub_Name | C7_SAIDI_S_ZC | C7_SAIDI_S_CT | C7_SAIDI_LCT | C7_SAIDI_LOC | C8_SAIDI_I-A | C8_SAIDI_CName | C8_SAIDI_CNum | C8_SAIDI_MCL | C8_SAIDI_M_W_R | C8_SAIDI_M_W_C | C8_SAIDI_M_W_I | C8_SAIDI_M_W_O | C8_SAIDI_A_ExMED_R | C8_SAIDI_A_ExMED_C | C8_SAIDI_A_ExMED_I | C8_SAIDI_A_ExMED_O | C8_SAIDI_CS_R | C8_SAIDI_CS_C | C8_SAIDI_CS_I | C8_SAIDI_Sub_Name | C8_SAIDI_S_ZC | C8_SAIDI_S_CT | C8_SAIDI_LCT | C8_SAIDI_LOC | C9_SAIDI_I-A | C9_SAIDI_CName | C9_SAIDI_CNum | C9_SAIDI_MCL | C9_SAIDI_M_W_R | C9_SAIDI_M_W_C | C9_SAIDI_M_W_I | C9_SAIDI_M_W_O | C9_SAIDI_A_ExMED_R | C9_SAIDI_A_ExMED_C | C9_SAIDI_A_ExMED_I | C9_SAIDI_A_ExMED_O | C9_SAIDI_CS_R | C9_SAIDI_CS_C | C9_SAIDI_CS_I | C9_SAIDI_Sub_Name | C9_SAIDI_S_ZC | C9_SAIDI_S_CT | C9_SAIDI_LCT | C9_SAIDI_LOC | C10_SAIDI_I-A | C10_SAIDI_CName | C10_SAIDI_CNum | C10_SAIDI_MCL | C10_SAIDI_M_W_R | C10_SAIDI_M_W_C | C10_SAIDI_M_W_I | C10_SAIDI_M_W_O | C10_SAIDI_A_ExMED_R | C10_SAIDI_A_ExMED_C | C10_SAIDI_A_ExMED_I | C10_SAIDI_A_ExMED_O | C10_SAIDI_CS_R | C10_SAIDI_CS_C | C10_SAIDI_CS_I | C10_SAIDI_Sub_Name | C10_SAIDI_S_ZC | C10_SAIDI_S_CT | C10_SAIDI_LCT | C10_SAIDI_LOC
U-21122 Response Data | Upper Peninsula Power Co. | 45230 | Circuit 1 | Barnum(C-Ishpeming) | 1205 | 82.4 | 12.2204504766031 | 1.46597924610052 | 0.0118702772963605 | 13.6983 |  |  |  |  | 2059 | 247 | 2 | Barnum | 4984949866 | 26103001700261030018002610300190026103002000 | 44742 | I23100800027 UnknownI23100800029 UnknownI23100800030 UnknownI23100800031 UnknownI23100800035 UnknownI23100800040 Unknown
Title | Utility | Reporting_Period | C1_SAIDI_I-A | C1_SAIDI_CName | C1_SAIDI_CNum | C1_SAIDI_MCL | C1_SAIDI_M_W_R | C1_SAIDI_M_W_C | C1_SAIDI_M_W_I | C1_SAIDI_M_W_O | C1_SAIDI_A_ExMED_R | C1_SAIDI_A_ExMED_C | C1_SAIDI_A_ExMED_I | C1_SAIDI_A_ExMED_O | C1_SAIDI_CS_R | C1_SAIDI_CS_C | C1_SAIDI_CS_I | C1_SAIDI_Sub_Name | C1_SAIDI_S_ZC | C1_SAIDI_S_CT | C1_SAIDI_LCT | C1_SAIDI_LOC | C2_SAIDI_I-A | C2_SAIDI_CName | C2_SAIDI_CNum | C2_SAIDI_MCL | C2_SAIDI_M_W_R | C2_SAIDI_M_W_C | C2_SAIDI_M_W_I | C2_SAIDI_M_W_O | C2_SAIDI_A_ExMED_R | C2_SAIDI_A_ExMED_C | C2_SAIDI_A_ExMED_I | C2_SAIDI_A_ExMED_O | C2_SAIDI_CS_R | C2_SAIDI_CS_C | C2_SAIDI_CS_I | C2_SAIDI_Sub_Name | C2_SAIDI_S_ZC | C2_SAIDI_S_CT | C2_SAIDI_LCT | C2_SAIDI_LOC | C3_SAIDI_I-A | C3_SAIDI_CName | C3_SAIDI_CNum | C3_SAIDI_MCL | C3_SAIDI_M_W_R | C3_SAIDI_M_W_C | C3_SAIDI_M_W_I | C3_SAIDI_M_W_O | C3_SAIDI_A_ExMED_R | C3_SAIDI_A_ExMED_C | C3_SAIDI_A_ExMED_I | C3_SAIDI_A_ExMED_O | C3_SAIDI_CS_R | C3_SAIDI_CS_C | C3_SAIDI_CS_I | C3_SAIDI_Sub_Name | C3_SAIDI_S_ZC | C3_SAIDI_S_CT | C3_SAIDI_LCT | C3_SAIDI_LOC | C4_SAIDI_I-A | C4_SAIDI_CName | C4_SAIDI_CNum | C4_SAIDI_MCL | C4_SAIDI_M_W_R | C4_SAIDI_M_W_C | C4_SAIDI_M_W_I | C4_SAIDI_M_W_O | C4_SAIDI_A_ExMED_R | C4_SAIDI_A_ExMED_C | C4_SAIDI_A_ExMED_I | C4_SAIDI_A_ExMED_O | C4_SAIDI_CS_R | C4_SAIDI_CS_C | C4_SAIDI_CS_I | C4_SAIDI_Sub_Name | C4_SAIDI_S_ZC | C4_SAIDI_S_CT | C4_SAIDI_LCT | C4_SAIDI_LOC | C5_SAIDI_I-A | C5_SAIDI_CName | C5_SAIDI_CNum | C5_SAIDI_MCL | C5_SAIDI_M_W_R | C5_SAIDI_M_W_C | C5_SAIDI_M_W_I | C5_SAIDI_M_W_O | C5_SAIDI_A_ExMED_R | C5_SAIDI_A_ExMED_C | C5_SAIDI_A_ExMED_I | C5_SAIDI_A_ExMED_O | C5_SAIDI_CS_R | C5_SAIDI_CS_C | C5_SAIDI_CS_I | C5_SAIDI_Sub_Name | C5_SAIDI_S_ZC | C5_SAIDI_S_CT | C5_SAIDI_LCT | C5_SAIDI_LOC | C6_SAIDI_I-A | C6_SAIDI_CName | C6_SAIDI_CNum | C6_SAIDI_MCL | C6_SAIDI_M_W_R | C6_SAIDI_M_W_C | C6_SAIDI_M_W_I | C6_SAIDI_M_W_O | C6_SAIDI_A_ExMED_R | C6_SAIDI_A_ExMED_C | C6_SAIDI_A_ExMED_I | C6_SAIDI_A_ExMED_O | C6_SAIDI_CS_R | C6_SAIDI_CS_C | C6_SAIDI_CS_I | C6_SAIDI_Sub_Name | C6_SAIDI_S_ZC | C6_SAIDI_S_CT | C6_SAIDI_LCT | C6_SAIDI_LOC | C7_SAIDI_I-A | C7_SAIDI_CName | C7_SAIDI_CNum | C7_SAIDI_MCL | C7_SAIDI_M_W_R | C7_SAIDI_M_W_C | C7_SAIDI_M_W_I | C7_SAIDI_M_W_O | C7_SAIDI_A_ExMED_R | C7_SAIDI_A_ExMED_C | C7_SAIDI_A_ExMED_I | C7_SAIDI_A_ExMED_O | C7_SAIDI_CS_R | C7_SAIDI_CS_C | C7_SAIDI_CS_I | C7_SAIDI_Sub_Name | C7_SAIDI_S_ZC | C7_SAIDI_S_CT | C7_SAIDI_LCT | C7_SAIDI_LOC | C8_SAIDI_I-A | C8_SAIDI_CName | C8_SAIDI_CNum | C8_SAIDI_MCL | C8_SAIDI_M_W_R | C8_SAIDI_M_W_C | C8_SAIDI_M_W_I | C8_SAIDI_M_W_O | C8_SAIDI_A_ExMED_R | C8_SAIDI_A_ExMED_C | C8_SAIDI_A_ExMED_I | C8_SAIDI_A_ExMED_O | C8_SAIDI_CS_R | C8_SAIDI_CS_C | C8_SAIDI_CS_I | C8_SAIDI_Sub_Name | C8_SAIDI_S_ZC | C8_SAIDI_S_CT | C8_SAIDI_LCT | C8_SAIDI_LOC | C9_SAIDI_I-A | C9_SAIDI_CName | C9_SAIDI_CNum | C9_SAIDI_MCL | C9_SAIDI_M_W_R | C9_SAIDI_M_W_C | C9_SAIDI_M_W_I | C9_SAIDI_M_W_O | C9_SAIDI_A_ExMED_R | C9_SAIDI_A_ExMED_C | C9_SAIDI_A_ExMED_I | C9_SAIDI_A_ExMED_O | C9_SAIDI_CS_R | C9_SAIDI_CS_C | C9_SAIDI_CS_I | C9_SAIDI_Sub_Name | C9_SAIDI_S_ZC | C9_SAIDI_S_CT | C9_SAIDI_LCT | C9_SAIDI_LOC | C10_SAIDI_I-A | C10_SAIDI_CName | C10_SAIDI_CNum | C10_SAIDI_MCL | C10_SAIDI_M_W_R | C10_SAIDI_M_W_C | C10_SAIDI_M_W_I | C10_SAIDI_M_W_O | C10_SAIDI_A_ExMED_R | C10_SAIDI_A_ExMED_C | C10_SAIDI_A_ExMED_I | C10_SAIDI_A_ExMED_O | C10_SAIDI_CS_R | C10_SAIDI_CS_C | C10_SAIDI_CS_I | C10_SAIDI_Sub_Name | C10_SAIDI_S_ZC | C10_SAIDI_S_CT | C10_SAIDI_LCT | C10_SAIDI_LOC
Linked | Upper Peninsula Power Co. | 2023-10-31 | Circuit 1 | Barnum(C-Ishpeming) | 1205 | 82.4 | 12.2205 | 1.466 | 0.01187 | 13.6983 | #REF! | #REF! | #REF! | #REF! | 2059 | 247 | 2 | Barnum | 49849 49866 | 26103001700 26103001800 26103001900 26103002000 | 2022-06-30 | I23100800027 Unknown I23100800029 Unknown I23100800030 Unknown I23100800031 Unknown I23100800035 Unknown I23100800040 Unknown | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Static | Credits, worst circuits, storms'!C3 | Credits, worst circuits, storms'!C4 | Credits, worst circuits, storms'!D25 | Credits, worst circuits, storms'!D26 | Credits, worst circuits, storms'!D27 | Credits, worst circuits, storms'!D28 | Credits, worst circuits, storms'!D29 | Credits, worst circuits, storms'!D30 | Credits, worst circuits, storms'!D31 | Credits, worst circuits, storms'!D32 | NormalizedData'!EW1 | NormalizedData'!EW1 | NormalizedData'!EW1 | NormalizedData'!EW1 | Credits, worst circuits, storms'!D33 | Credits, worst circuits, storms'!D34 | Credits, worst circuits, storms'!D35 | Credits, worst circuits, storms'!D36 | Credits, worst circuits, storms'!D37 | Credits, worst circuits, storms'!D38 | Credits, worst circuits, storms'!D39 | Credits, worst circuits, storms'!D40 | Credits, worst circuits, storms'!E25 | Credits, worst circuits, storms'!E26 | Credits, worst circuits, storms'!E27 | Credits, worst circuits, storms'!E28 | Credits, worst circuits, storms'!E29 | Credits, worst circuits, storms'!E30 | Credits, worst circuits, storms'!E31 | Credits, worst circuits, storms'!E32 | NormalizedData'!EW1 | NormalizedData'!EW1 | NormalizedData'!EW1 | NormalizedData'!EW1 | Credits, worst circuits, storms'!E33 | Credits, worst circuits, storms'!E34 | Credits, worst circuits, storms'!E35 | Credits, worst circuits, storms'!E36 | Credits, worst circuits, storms'!E37 | Credits, worst circuits, storms'!E38 | Credits, worst circuits, storms'!E39 | Credits, worst circuits, storms'!E40 | Credits, worst circuits, storms'!F25 | Credits, worst circuits, storms'!F26 | Credits, worst circuits, storms'!F27 | Credits, worst circuits, storms'!F28 | Credits, worst circuits, storms'!F29 | Credits, worst circuits, storms'!F30 | Credits, worst circuits, storms'!F31 | Credits, worst circuits, storms'!F32 | NormalizedData'!EW1 | NormalizedData'!EW1 | NormalizedData'!EW1 | NormalizedData'!EW1 | Credits, worst circuits, storms'!F33 | Credits, worst circuits, storms'!F34 | Credits, worst circuits, storms'!F35 | Credits, worst circuits, storms'!F36 | Credits, worst circuits, storms'!F37 | Credits, worst circuits, storms'!F38 | Credits, worst circuits, storms'!F39 | Credits, worst circuits, storms'!F40 | Credits, worst circuits, storms'!G25 | Credits, worst circuits, storms'!G26 | Credits, worst circuits, storms'!G27 | Credits, worst circuits, storms'!G28 | Credits, worst circuits, storms'!G29 | Credits, worst circuits, storms'!G30 | Credits, worst circuits, storms'!G31 | Credits, worst circuits, storms'!G32 | NormalizedData'!EW1 | NormalizedData'!EW1 | NormalizedData'!EW1 | NormalizedData'!EW1 | Credits, worst circuits, storms'!G33 | Credits, worst circuits, storms'!G34 | Credits, worst circuits, storms'!G35 | Credits, worst circuits, storms'!G36 | Credits, worst circuits, storms'!G37 | Credits, worst circuits, storms'!G38 | Credits, worst circuits, storms'!G39 | Credits, worst circuits, storms'!G40 | Credits, worst circuits, storms'!H25 | Credits, worst circuits, storms'!H26 | Credits, worst circuits, storms'!H27 | Credits, worst circuits, storms'!H28 | Credits, worst circuits, storms'!H29 | Credits, worst circuits, storms'!H30 | Credits, worst circuits, storms'!H31 | Credits, worst circuits, storms'!H32 | NormalizedData'!EW1 | NormalizedData'!EW1 | NormalizedData'!EW1 | NormalizedData'!EW1 | Credits, worst circuits, storms'!H33 | Credits, worst circuits, storms'!H34 | Credits, worst circuits, storms'!H35 | Credits, worst circuits, storms'!H36 | Credits, worst circuits, storms'!H37 | Credits, worst circuits, storms'!H38 | Credits, worst circuits, storms'!H39 | Credits, worst circuits, storms'!H40 | Credits, worst circuits, storms'!I25 | Credits, worst circuits, storms'!I26 | Credits, worst circuits, storms'!I27 | Credits, worst circuits, storms'!I28 | Credits, worst circuits, storms'!I29 | Credits, worst circuits, storms'!I30 | Credits, worst circuits, storms'!I31 | Credits, worst circuits, storms'!I32 | NormalizedData'!EW1 | NormalizedData'!EW1 | NormalizedData'!EW1 | NormalizedData'!EW1 | Credits, worst circuits, storms'!I33 | Credits, worst circuits, storms'!I34 | Credits, worst circuits, storms'!I35 | Credits, worst circuits, storms'!I36 | Credits, worst circuits, storms'!I37 | Credits, worst circuits, storms'!I38 | Credits, worst circuits, storms'!I39 | Credits, worst circuits, storms'!I40 | Credits, worst circuits, storms'!J25 | Credits, worst circuits, storms'!J26 | Credits, worst circuits, storms'!J27 | Credits, worst circuits, storms'!J28 | Credits, worst circuits, storms'!J29 | Credits, worst circuits, storms'!J30 | Credits, worst circuits, storms'!J31 | Credits, worst circuits, storms'!J32 | NormalizedData'!EW1 | NormalizedData'!EW1 | NormalizedData'!EW1 | NormalizedData'!EW1 | Credits, worst circuits, storms'!J33 | Credits, worst circuits, storms'!J34 | Credits, worst circuits, storms'!J35 | Credits, worst circuits, storms'!J36 | Credits, worst circuits, storms'!J37 | Credits, worst circuits, storms'!J38 | Credits, worst circuits, storms'!J39 | Credits, worst circuits, storms'!J40 | Credits, worst circuits, storms'!K25 | Credits, worst circuits, storms'!K26 | Credits, worst circuits, storms'!K27 | Credits, worst circuits, storms'!K28 | Credits, worst circuits, storms'!K29 | Credits, worst circuits, storms'!K30 | Credits, worst circuits, storms'!K31 | Credits, worst circuits, storms'!K32 | NormalizedData'!EW1 | NormalizedData'!EW1 | NormalizedData'!EW1 | NormalizedData'!EW1 | Credits, worst circuits, storms'!K33 | Credits, worst circuits, storms'!K34 | Credits, worst circuits, storms'!K35 | Credits, worst circuits, storms'!K36 | Credits, worst circuits, storms'!K37 | Credits, worst circuits, storms'!K38 | Credits, worst circuits, storms'!K39 | Credits, worst circuits, storms'!K40 | Credits, worst circuits, storms'!L25 | Credits, worst circuits, storms'!L26 | Credits, worst circuits, storms'!L27 | Credits, worst circuits, storms'!L28 | Credits, worst circuits, storms'!L29 | Credits, worst circuits, storms'!L30 | Credits, worst circuits, storms'!L31 | Credits, worst circuits, storms'!L32 | NormalizedData'!EW1 | NormalizedData'!EW1 | NormalizedData'!EW1 | NormalizedData'!EW1 | Credits, worst circuits, storms'!L33 | Credits, worst circuits, storms'!L34 | Credits, worst circuits, storms'!L35 | Credits, worst circuits, storms'!L36 | Credits, worst circuits, storms'!L37 | Credits, worst circuits, storms'!L38 | Credits, worst circuits, storms'!L39 | Credits, worst circuits, storms'!L40 | Credits, worst circuits, storms'!M25 | Credits, worst circuits, storms'!M26 | Credits, worst circuits, storms'!M27 | Credits, worst circuits, storms'!M28 | Credits, worst circuits, storms'!M29 | Credits, worst circuits, storms'!M30 | Credits, worst circuits, storms'!M31 | Credits, worst circuits, storms'!M32 | NormalizedData'!EW1 | NormalizedData'!EW1 | NormalizedData'!EW1 | NormalizedData'!EW1 | Credits, worst circuits, storms'!M33 | Credits, worst circuits, storms'!M34 | Credits, worst circuits, storms'!M35 | Credits, worst circuits, storms'!M36 | Credits, worst circuits, storms'!M37 | Credits, worst circuits, storms'!M38 | Credits, worst circuits, storms'!M39 | Credits, worst circuits, storms'!M40
Title | Utility | Reporting_Period | C1_SAIFI_I-A | C1_SAIFI_CName | C1_SAIFI_CNum | C1_SAIFI_MCL | C1_SAIFI_M_W_R | C1_SAIFI_M_W_C | C1_SAIFI_M_W_I | C1_SAIFI_M_W_O | C1_SAIFI_A_ExMED_R | C1_SAIFI_A_ExMED_C | C1_SAIFI_A_ExMED_I | C1_SAIFI_A_ExMED_O | C1_SAIFI_CS_R | C1_SAIFI_CS_C | C1_SAIFI_CS_I | C1_SAIFI_Sub_Name | C1_SAIFI_S_ZC | C1_SAIFI_S_CT | C1_SAIFI_LCT | C1_SAIFI_LOC | C2_SAIFI_I-A | C2_SAIFI_CName | C2_SAIFI_CNum | C2_SAIFI_MCL | C2_SAIFI_M_W_R | C2_SAIFI_M_W_C | C2_SAIFI_M_W_I | C2_SAIFI_M_W_O | C2_SAIFI_A_ExMED_R | C2_SAIFI_A_ExMED_C | C2_SAIFI_A_ExMED_I | C2_SAIFI_A_ExMED_O | C2_SAIFI_CS_R | C2_SAIFI_CS_C | C2_SAIFI_CS_I | C2_SAIFI_Sub_Name | C2_SAIFI_S_ZC | C2_SAIFI_S_CT | C2_SAIFI_LCT | C2_SAIFI_LOC | C3_SAIFI_I-A | C3_SAIFI_CName | C3_SAIFI_CNum | C3_SAIFI_MCL | C3_SAIFI_M_W_R | C3_SAIFI_M_W_C | C3_SAIFI_M_W_I | C3_SAIFI_M_W_O | C3_SAIFI_A_ExMED_R | C3_SAIFI_A_ExMED_C | C3_SAIFI_A_ExMED_I | C3_SAIFI_A_ExMED_O | C3_SAIFI_CS_R | C3_SAIFI_CS_C | C3_SAIFI_CS_I | C3_SAIFI_Sub_Name | C3_SAIFI_S_ZC | C3_SAIFI_S_CT | C3_SAIFI_LCT | C3_SAIFI_LOC | C4_SAIFI_I-A | C4_SAIFI_CName | C4_SAIFI_CNum | C4_SAIFI_MCL | C4_SAIFI_M_W_R | C4_SAIFI_M_W_C | C4_SAIFI_M_W_I | C4_SAIFI_M_W_O | C4_SAIFI_A_ExMED_R | C4_SAIFI_A_ExMED_C | C4_SAIFI_A_ExMED_I | C4_SAIFI_A_ExMED_O | C4_SAIFI_CS_R | C4_SAIFI_CS_C | C4_SAIFI_CS_I | C4_SAIFI_Sub_Name | C4_SAIFI_S_ZC | C4_SAIFI_S_CT | C4_SAIFI_LCT | C4_SAIFI_LOC | C5_SAIFI_I-A | C5_SAIFI_CName | C5_SAIFI_CNum | C5_SAIFI_MCL | C5_SAIFI_M_W_R | C5_SAIFI_M_W_C | C5_SAIFI_M_W_I | C5_SAIFI_M_W_O | C5_SAIFI_A_ExMED_R | C5_SAIFI_A_ExMED_C | C5_SAIFI_A_ExMED_I | C5_SAIFI_A_ExMED_O | C5_SAIFI_CS_R | C5_SAIFI_CS_C | C5_SAIFI_CS_I | C5_SAIFI_Sub_Name | C5_SAIFI_S_ZC | C5_SAIFI_S_CT | C5_SAIFI_LCT | C5_SAIFI_LOC | C6_SAIFI_I-A | C6_SAIFI_CName | C6_SAIFI_CNum | C6_SAIFI_MCL | C6_SAIFI_M_W_R | C6_SAIFI_M_W_C | C6_SAIFI_M_W_I | C6_SAIFI_M_W_O | C6_SAIFI_A_ExMED_R | C6_SAIFI_A_ExMED_C | C6_SAIFI_A_ExMED_I | C6_SAIFI_A_ExMED_O | C6_SAIFI_CS_R | C6_SAIFI_CS_C | C6_SAIFI_CS_I | C6_SAIFI_Sub_Name | C6_SAIFI_S_ZC | C6_SAIFI_S_CT | C6_SAIFI_LCT | C6_SAIFI_LOC | C7_SAIFI_I-A | C7_SAIFI_CName | C7_SAIFI_CNum | C7_SAIFI_MCL | C7_SAIFI_M_W_R | C7_SAIFI_M_W_C | C7_SAIFI_M_W_I | C7_SAIFI_M_W_O | C7_SAIFI_A_ExMED_R | C7_SAIFI_A_ExMED_C | C7_SAIFI_A_ExMED_I | C7_SAIFI_A_ExMED_O | C7_SAIFI_CS_R | C7_SAIFI_CS_C | C7_SAIFI_CS_I | C7_SAIFI_Sub_Name | C7_SAIFI_S_ZC | C7_SAIFI_S_CT | C7_SAIFI_LCT | C7_SAIFI_LOC | C8_SAIFI_I-A | C8_SAIFI_CName | C8_SAIFI_CNum | C8_SAIFI_MCL | C8_SAIFI_M_W_R | C8_SAIFI_M_W_C | C8_SAIFI_M_W_I | C8_SAIFI_M_W_O | C8_SAIFI_A_ExMED_R | C8_SAIFI_A_ExMED_C | C8_SAIFI_A_ExMED_I | C8_SAIFI_A_ExMED_O | C8_SAIFI_CS_R | C8_SAIFI_CS_C | C8_SAIFI_CS_I | C8_SAIFI_Sub_Name | C8_SAIFI_S_ZC | C8_SAIFI_S_CT | C8_SAIFI_LCT | C8_SAIFI_LOC | C9_SAIFI_I-A | C9_SAIFI_CName | C9_SAIFI_CNum | C9_SAIFI_MCL | C9_SAIFI_M_W_R | C9_SAIFI_M_W_C | C9_SAIFI_M_W_I | C9_SAIFI_M_W_O | C9_SAIFI_A_ExMED_R | C9_SAIFI_A_ExMED_C | C9_SAIFI_A_ExMED_I | C9_SAIFI_A_ExMED_O | C9_SAIFI_CS_R | C9_SAIFI_CS_C | C9_SAIFI_CS_I | C9_SAIFI_Sub_Name | C9_SAIFI_S_ZC | C9_SAIFI_S_CT | C9_SAIFI_LCT | C9_SAIFI_LOC | C10_SAIFI_I-A | C10_SAIFI_CName | C10_SAIFI_CNum | C10_SAIFI_MCL | C10_SAIFI_M_W_R | C10_SAIFI_M_W_C | C10_SAIFI_M_W_I | C10_SAIFI_M_W_O | C10_SAIFI_A_ExMED_R | C10_SAIFI_A_ExMED_C | C10_SAIFI_A_ExMED_I | C10_SAIFI_A_ExMED_O | C10_SAIFI_CS_R | C10_SAIFI_CS_C | C10_SAIFI_CS_I | C10_SAIFI_Sub_Name | C10_SAIFI_S_ZC | C10_SAIFI_S_CT | C10_SAIFI_LCT | C10_SAIFI_LOC
U-21122 Response Data | Upper Peninsula Power Co. | 45230 | Circuit 1 | Barnum (Ishpeming City) | 1205 | 82.4 | 0.121211581455806 | 0.0145406802426343 | 0.000117738301559792 | 0.13587 |  |  |  |  | 2059 | 247 | 2 | Barnum | 4984949866 | 26103001700261030018002610300190026103002000 | 44742 | I23100800027 UnknownI23100800029 UnknownI23100800030 UnknownI23100800031 UnknownI23100800035 UnknownI23100800040 Unknown
Title | Utility | Reporting_Period | C1_SAIFI_I-A | C1_SAIFI_CName | C1_SAIFI_CNum | C1_SAIFI_MCL | C1_SAIFI_M_W_R | C1_SAIFI_M_W_C | C1_SAIFI_M_W_I | C1_SAIFI_M_W_O | C1_SAIFI_A_ExMED_R | C1_SAIFI_A_ExMED_C | C1_SAIFI_A_ExMED_I | C1_SAIFI_A_ExMED_O | C1_SAIFI_CS_R | C1_SAIFI_CS_C | C1_SAIFI_CS_I | C1_SAIFI_Sub_Name | C1_SAIFI_S_ZC | C1_SAIFI_S_CT | C1_SAIFI_LCT | C1_SAIFI_LOC | C2_SAIFI_I-A | C2_SAIFI_CName | C2_SAIFI_CNum | C2_SAIFI_MCL | C2_SAIFI_M_W_R | C2_SAIFI_M_W_C | C2_SAIFI_M_W_I | C2_SAIFI_M_W_O | C2_SAIFI_A_ExMED_R | C2_SAIFI_A_ExMED_C | C2_SAIFI_A_ExMED_I | C2_SAIFI_A_ExMED_O | C2_SAIFI_CS_R | C2_SAIFI_CS_C | C2_SAIFI_CS_I | C2_SAIFI_Sub_Name | C2_SAIFI_S_ZC | C2_SAIFI_S_CT | C2_SAIFI_LCT | C2_SAIFI_LOC | C3_SAIFI_I-A | C3_SAIFI_CName | C3_SAIFI_CNum | C3_SAIFI_MCL | C3_SAIFI_M_W_R | C3_SAIFI_M_W_C | C3_SAIFI_M_W_I | C3_SAIFI_M_W_O | C3_SAIFI_A_ExMED_R | C3_SAIFI_A_ExMED_C | C3_SAIFI_A_ExMED_I | C3_SAIFI_A_ExMED_O | C3_SAIFI_CS_R | C3_SAIFI_CS_C | C3_SAIFI_CS_I | C3_SAIFI_Sub_Name | C3_SAIFI_S_ZC | C3_SAIFI_S_CT | C3_SAIFI_LCT | C3_SAIFI_LOC | C4_SAIFI_I-A | C4_SAIFI_CName | C4_SAIFI_CNum | C4_SAIFI_MCL | C4_SAIFI_M_W_R | C4_SAIFI_M_W_C | C4_SAIFI_M_W_I | C4_SAIFI_M_W_O | C4_SAIFI_A_ExMED_R | C4_SAIFI_A_ExMED_C | C4_SAIFI_A_ExMED_I | C4_SAIFI_A_ExMED_O | C4_SAIFI_CS_R | C4_SAIFI_CS_C | C4_SAIFI_CS_I | C4_SAIFI_Sub_Name | C4_SAIFI_S_ZC | C4_SAIFI_S_CT | C4_SAIFI_LCT | C4_SAIFI_LOC | C5_SAIFI_I-A | C5_SAIFI_CName | C5_SAIFI_CNum | C5_SAIFI_MCL | C5_SAIFI_M_W_R | C5_SAIFI_M_W_C | C5_SAIFI_M_W_I | C5_SAIFI_M_W_O | C5_SAIFI_A_ExMED_R | C5_SAIFI_A_ExMED_C | C5_SAIFI_A_ExMED_I | C5_SAIFI_A_ExMED_O | C5_SAIFI_CS_R | C5_SAIFI_CS_C | C5_SAIFI_CS_I | C5_SAIFI_Sub_Name | C5_SAIFI_S_ZC | C5_SAIFI_S_CT | C5_SAIFI_LCT | C5_SAIFI_LOC | C6_SAIFI_I-A | C6_SAIFI_CName | C6_SAIFI_CNum | C6_SAIFI_MCL | C6_SAIFI_M_W_R | C6_SAIFI_M_W_C | C6_SAIFI_M_W_I | C6_SAIFI_M_W_O | C6_SAIFI_A_ExMED_R | C6_SAIFI_A_ExMED_C | C6_SAIFI_A_ExMED_I | C6_SAIFI_A_ExMED_O | C6_SAIFI_CS_R | C6_SAIFI_CS_C | C6_SAIFI_CS_I | C6_SAIFI_Sub_Name | C6_SAIFI_S_ZC | C6_SAIFI_S_CT | C6_SAIFI_LCT | C6_SAIFI_LOC | C7_SAIFI_I-A | C7_SAIFI_CName | C7_SAIFI_CNum | C7_SAIFI_MCL | C7_SAIFI_M_W_R | C7_SAIFI_M_W_C | C7_SAIFI_M_W_I | C7_SAIFI_M_W_O | C7_SAIFI_A_ExMED_R | C7_SAIFI_A_ExMED_C | C7_SAIFI_A_ExMED_I | C7_SAIFI_A_ExMED_O | C7_SAIFI_CS_R | C7_SAIFI_CS_C | C7_SAIFI_CS_I | C7_SAIFI_Sub_Name | C7_SAIFI_S_ZC | C7_SAIFI_S_CT | C7_SAIFI_LCT | C7_SAIFI_LOC | C8_SAIFI_I-A | C8_SAIFI_CName | C8_SAIFI_CNum | C8_SAIFI_MCL | C8_SAIFI_M_W_R | C8_SAIFI_M_W_C | C8_SAIFI_M_W_I | C8_SAIFI_M_W_O | C8_SAIFI_A_ExMED_R | C8_SAIFI_A_ExMED_C | C8_SAIFI_A_ExMED_I | C8_SAIFI_A_ExMED_O | C8_SAIFI_CS_R | C8_SAIFI_CS_C | C8_SAIFI_CS_I | C8_SAIFI_Sub_Name | C8_SAIFI_S_ZC | C8_SAIFI_S_CT | C8_SAIFI_LCT | C8_SAIFI_LOC | C9_SAIFI_I-A | C9_SAIFI_CName | C9_SAIFI_CNum | C9_SAIFI_MCL | C9_SAIFI_M_W_R | C9_SAIFI_M_W_C | C9_SAIFI_M_W_I | C9_SAIFI_M_W_O | C9_SAIFI_A_ExMED_R | C9_SAIFI_A_ExMED_C | C9_SAIFI_A_ExMED_I | C9_SAIFI_A_ExMED_O | C9_SAIFI_CS_R | C9_SAIFI_CS_C | C9_SAIFI_CS_I | C9_SAIFI_Sub_Name | C9_SAIFI_S_ZC | C9_SAIFI_S_CT | C9_SAIFI_LCT | C9_SAIFI_LOC | C10_SAIFI_I-A | C10_SAIFI_CName | C10_SAIFI_CNum | C10_SAIFI_MCL | C10_SAIFI_M_W_R | C10_SAIFI_M_W_C | C10_SAIFI_M_W_I | C10_SAIFI_M_W_O | C10_SAIFI_A_ExMED_R | C10_SAIFI_A_ExMED_C | C10_SAIFI_A_ExMED_I | C10_SAIFI_A_ExMED_O | C10_SAIFI_CS_R | C10_SAIFI_CS_C | C10_SAIFI_CS_I | C10_SAIFI_Sub_Name | C10_SAIFI_S_ZC | C10_SAIFI_S_CT | C10_SAIFI_LCT | C10_SAIFI_LOC
Linked | Upper Peninsula Power Co. | 2023-10-31 | Circuit 1 | Barnum (Ishpeming City) | 1205 | 82.4 | 0.12121 | 0.014541 | 0.00011774 | 0.13587 | #REF! | #REF! | #REF! | #REF! | 2059 | 247 | 2 | Barnum | 49849 49866 | 26103001700 26103001800 26103001900 26103002000 | 2022-06-30 | I23100800027 Unknown I23100800029 Unknown I23100800030 Unknown I23100800031 Unknown I23100800035 Unknown I23100800040 Unknown | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Static | Credits, worst circuits, storms'!C3 | Credits, worst circuits, storms'!C4 | Credits, worst circuits, storms'!D42 | Credits, worst circuits, storms'!D43 | Credits, worst circuits, storms'!D44 | Credits, worst circuits, storms'!D45 | Credits, worst circuits, storms'!D46 | Credits, worst circuits, storms'!D47 | Credits, worst circuits, storms'!D48 | Credits, worst circuits, storms'!D49 | NormalizedData'!EW1 | NormalizedData'!EW1 | NormalizedData'!EW1 | NormalizedData'!EW1 | Credits, worst circuits, storms'!D50 | Credits, worst circuits, storms'!D51 | Credits, worst circuits, storms'!D52 | Credits, worst circuits, storms'!D53 | Credits, worst circuits, storms'!D54 | Credits, worst circuits, storms'!D55 | Credits, worst circuits, storms'!D56 | Credits, worst circuits, storms'!D57 | Credits, worst circuits, storms'!E42 | Credits, worst circuits, storms'!E43 | Credits, worst circuits, storms'!E44 | Credits, worst circuits, storms'!E45 | Credits, worst circuits, storms'!E46 | Credits, worst circuits, storms'!E47 | Credits, worst circuits, storms'!E48 | Credits, worst circuits, storms'!E49 | NormalizedData'!EW1 | NormalizedData'!EW1 | NormalizedData'!EW1 | NormalizedData'!EW1 | Credits, worst circuits, storms'!E50 | Credits, worst circuits, storms'!E51 | Credits, worst circuits, storms'!E52 | Credits, worst circuits, storms'!E53 | Credits, worst circuits, storms'!E54 | Credits, worst circuits, storms'!E55 | Credits, worst circuits, storms'!E56 | Credits, worst circuits, storms'!E57 | Credits, worst circuits, storms'!F42 | Credits, worst circuits, storms'!F43 | Credits, worst circuits, storms'!F44 | Credits, worst circuits, storms'!F45 | Credits, worst circuits, storms'!F46 | Credits, worst circuits, storms'!F47 | Credits, worst circuits, storms'!F48 | Credits, worst circuits, storms'!F49 | NormalizedData'!EW1 | NormalizedData'!EW1 | NormalizedData'!EW1 | NormalizedData'!EW1 | Credits, worst circuits, storms'!F50 | Credits, worst circuits, storms'!F51 | Credits, worst circuits, storms'!F52 | Credits, worst circuits, storms'!F53 | Credits, worst circuits, storms'!F54 | Credits, worst circuits, storms'!F55 | Credits, worst circuits, storms'!F56 | Credits, worst circuits, storms'!F57 | Credits, worst circuits, storms'!G42 | Credits, worst circuits, storms'!G43 | Credits, worst circuits, storms'!G44 | Credits, worst circuits, storms'!G45 | Credits, worst circuits, storms'!G46 | Credits, worst circuits, storms'!G47 | Credits, worst circuits, storms'!G48 | Credits, worst circuits, storms'!G49 | NormalizedData'!EW1 | NormalizedData'!EW1 | NormalizedData'!EW1 | NormalizedData'!EW1 | Credits, worst circuits, storms'!G50 | Credits, worst circuits, storms'!G51 | Credits, worst circuits, storms'!G52 | Credits, worst circuits, storms'!G53 | Credits, worst circuits, storms'!G54 | Credits, worst circuits, storms'!G55 | Credits, worst circuits, storms'!G56 | Credits, worst circuits, storms'!G57 | Credits, worst circuits, storms'!H42 | Credits, worst circuits, storms'!H43 | Credits, worst circuits, storms'!H44 | Credits, worst circuits, storms'!H45 | Credits, worst circuits, storms'!H46 | Credits, worst circuits, storms'!H47 | Credits, worst circuits, storms'!H48 | Credits, worst circuits, storms'!H49 | NormalizedData'!EW1 | NormalizedData'!EW1 | NormalizedData'!EW1 | NormalizedData'!EW1 | Credits, worst circuits, storms'!H50 | Credits, worst circuits, storms'!H51 | Credits, worst circuits, storms'!H52 | Credits, worst circuits, storms'!H53 | Credits, worst circuits, storms'!H54 | Credits, worst circuits, storms'!H55 | Credits, worst circuits, storms'!H56 | Credits, worst circuits, storms'!H57 | Credits, worst circuits, storms'!I42 | Credits, worst circuits, storms'!I43 | Credits, worst circuits, storms'!I44 | Credits, worst circuits, storms'!I45 | Credits, worst circuits, storms'!I46 | Credits, worst circuits, storms'!I47 | Credits, worst circuits, storms'!I48 | Credits, worst circuits, storms'!I49 | NormalizedData'!EW1 | NormalizedData'!EW1 | NormalizedData'!EW1 | NormalizedData'!EW1 | Credits, worst circuits, storms'!I50 | Credits, worst circuits, storms'!I51 | Credits, worst circuits, storms'!I52 | Credits, worst circuits, storms'!I53 | Credits, worst circuits, storms'!I54 | Credits, worst circuits, storms'!I55 | Credits, worst circuits, storms'!I56 | Credits, worst circuits, storms'!I57 | Credits, worst circuits, storms'!J42 | Credits, worst circuits, storms'!J43 | Credits, worst circuits, storms'!J44 | Credits, worst circuits, storms'!J45 | Credits, worst circuits, storms'!J46 | Credits, worst circuits, storms'!J47 | Credits, worst circuits, storms'!J48 | Credits, worst circuits, storms'!J49 | NormalizedData'!EW1 | NormalizedData'!EW1 | NormalizedData'!EW1 | NormalizedData'!EW1 | Credits, worst circuits, storms'!J50 | Credits, worst circuits, storms'!J51 | Credits, worst circuits, storms'!J52 | Credits, worst circuits, storms'!J53 | Credits, worst circuits, storms'!J54 | Credits, worst circuits, storms'!J55 | Credits, worst circuits, storms'!J56 | Credits, worst circuits, storms'!J57 | Credits, worst circuits, storms'!K42 | Credits, worst circuits, storms'!K43 | Credits, worst circuits, storms'!K44 | Credits, worst circuits, storms'!K45 | Credits, worst circuits, storms'!K46 | Credits, worst circuits, storms'!K47 | Credits, worst circuits, storms'!K48 | Credits, worst circuits, storms'!K49 | NormalizedData'!EW1 | NormalizedData'!EW1 | NormalizedData'!EW1 | NormalizedData'!EW1 | Credits, worst circuits, storms'!K50 | Credits, worst circuits, storms'!K51 | Credits, worst circuits, storms'!K52 | Credits, worst circuits, storms'!K53 | Credits, worst circuits, storms'!K54 | Credits, worst circuits, storms'!K55 | Credits, worst circuits, storms'!K56 | Credits, worst circuits, storms'!K57 | Credits, worst circuits, storms'!L42 | Credits, worst circuits, storms'!L43 | Credits, worst circuits, storms'!L44 | Credits, worst circuits, storms'!L45 | Credits, worst circuits, storms'!L46 | Credits, worst circuits, storms'!L47 | Credits, worst circuits, storms'!L48 | Credits, worst circuits, storms'!L49 | NormalizedData'!EW1 | NormalizedData'!EW1 | NormalizedData'!EW1 | NormalizedData'!EW1 | Credits, worst circuits, storms'!L50 | Credits, worst circuits, storms'!L51 | Credits, worst circuits, storms'!L52 | Credits, worst circuits, storms'!L53 | Credits, worst circuits, storms'!L54 | Credits, worst circuits, storms'!L55 | Credits, worst circuits, storms'!L56 | Credits, worst circuits, storms'!L57 | Credits, worst circuits, storms'!M42 | Credits, worst circuits, storms'!M43 | Credits, worst circuits, storms'!M44 | Credits, worst circuits, storms'!M45 | Credits, worst circuits, storms'!M46 | Credits, worst circuits, storms'!M47 | Credits, worst circuits, storms'!M48 | Credits, worst circuits, storms'!M49 | NormalizedData'!EW1 | NormalizedData'!EW1 | NormalizedData'!EW1 | NormalizedData'!EW1 | Credits, worst circuits, storms'!M50 | Credits, worst circuits, storms'!M51 | Credits, worst circuits, storms'!M52 | Credits, worst circuits, storms'!M53 | Credits, worst circuits, storms'!M54 | Credits, worst circuits, storms'!M55 | Credits, worst circuits, storms'!M56 | Credits, worst circuits, storms'!M57
Title | Utility | Reporting_Period | M_MRF | M_NSI | M_WDRF_120 | M_WDRF_180 | M_Rest_A | M_Rest_N | M_Rest_GS | M_Rest_CC | M_CEMI4 | M_LCTT_A_MI | M_LCTT_Cap_Spend | M_LCTT_OM_Spend | M_LCTT_QLCT_MI | M_LCTT_T_Percent | M_LCTT_C_Percent | M_TCO | M_OC_Eq | M_OC_Ltn | M_OC_Plan | M_OC_PS | M_OC_Pub | M_OC_Veg | M_OC_Weather | M_OC_Wild | M_OC_Unk | M_OC_O | M_SAIDI | M_SAIFI | M_CAIDI | M_ASAI | M_MAIFI | YTD_MRF | YTD_NSI | YTD_WDRF_120 | YTD_WDRF_180 | YTD_Rest_A | YTD_Rest_N | YTD_Rest_GS | YTD_Rest_CC | YTD_CEMI4 | YTD_LCTT_A_MI | YTD_LCTT_Cap_Spend | YTD_LCTT_OM_Spend | YTD_LCTT_QLCT_MI | YTD_LCTT_T_Percent | YTD_LCTT_C_Percent | YTD_TCO | YTD_OC_Eq | YTD_OC_Ltn | YTD_OC_Plan | YTD_OC_PS | YTD_OC_Pub | YTD_OC_Veg | YTD_OC_Weather | YTD_OC_Wild | YTD_OC_Unk | YTD_OC_O | YTD_SAIDI | YTD_SAIFI | YTD_CAIDI | YTD_ASAI | YTD_MAIFI
U-21122 Response Data | Upper Peninsula Power Co. | 2023-10-31 | 0.997914030708204 | 0.9855 |  | 1 | 1 | 1 |  |  |  | 20.7 |  | 238028 | 93 | 0.22258064516129 |  | 9698 | 475 | 3 | 174 |  | 13 | 378 | 1 | 226 | 8428 |  | 16.497328 | 0.164667 | 100.185999623483 | 0.999630671621621 |  | 0.998763595685399 | 0.9897 |  | 1 | 0.989819127044298 | 0.998687664041995 | 1 | 0.985144912025344 |  | 306.8 |  | 2678350 | 372 | 0.824731182795699 | 0.824731182795699 | 73864 | 10167 | 328 | 2338 |  | 2389 | 29582 | 11421 | 3681 | 12337 | 1621 | 393.481456 | 1.254442 | 313.670505292393 | 0.999102029687498
Title | Utility | Reporting_Period | M_MRF | M_NSI | M_WDRF_120 | M_WDRF_180 | M_Rest_A | M_Rest_N | M_Rest_GS | M_Rest_CC | M_CEMI4 | M_LCTT_A_MI | M_LCTT_Cap_Spend | M_LCTT_OM_Spend | M_LCTT_QLCT_MI | M_LCTT_T_Percent | M_LCTT_C_Percent | M_TCO | M_OC_Eq | M_OC_Ltn | M_OC_Plan | M_OC_PS | M_OC_Pub | M_OC_Veg | M_OC_Weather | M_OC_Wild | M_OC_Unk | M_OC_O | M_SAIDI | M_SAIFI | M_CAIDI | M_ASAI | M_MAIFI | YTD_MRF | YTD_NSI | YTD_WDRF_120 | YTD_WDRF_180 | YTD_Rest_A | YTD_Rest_N | YTD_Rest_GS | YTD_Rest_CC | YTD_CEMI4 | YTD_LCTT_A_MI | YTD_LCTT_Cap_Spend | YTD_LCTT_OM_Spend | YTD_LCTT_QLCT_MI | YTD_LCTT_T_Percent | YTD_LCTT_C_Percent | YTD_TCO | YTD_OC_Eq | YTD_OC_Ltn | YTD_OC_Plan | YTD_OC_PS | YTD_OC_Pub | YTD_OC_Veg | YTD_OC_Weather | YTD_OC_Wild | YTD_OC_Unk | YTD_OC_O | YTD_SAIDI | YTD_SAIFI | YTD_CAIDI | YTD_ASAI | YTD_MAIFI
Linked | Upper Peninsula Power Co. | 2023-10-31 | 99.79% | 98.55% | 0% | 100% | 100% | 100% | 0% | 0% | 0 | 20.7 | 0 | 238028 | 93 | 22.26% | 0% | 9698 | 475 | 3 | 174 | 0 | 13 | 378 | 1 | 226 | 8428 | 0 | 16.4973 | 0.16467 | 100.186 | 0.99963 | 0% | 99.88% | 98.97% | 0% | 100% | 98.98% | 99.87% | 100% | 0.98514 | 0 | 306.8 | 0 | 2678350 | 37200% | 82.47% | 0.82473 | 73864 | 10167 | 328 | 2338 | 0 | 2389 | 29582 | 11421 | 3681 | 12337 | 1621 | 393.4815 | 1.2544 | 313.6705 | 0.9991 | 0
Static | System Reliability Data'!C3 | System Reliability Data'!C4 | System Reliability Data'!C11 | System Reliability Data'!D11 | System Reliability Data'!E11 | System Reliability Data'!F11 | System Reliability Data'!G11 | System Reliability Data'!H11 | System Reliability Data'!I11 | System Reliability Data'!J11 | System Reliability Data'!K11 | System Reliability Data'!L11 | System Reliability Data'!M11 | System Reliability Data'!N11 | System Reliability Data'!O11 | System Reliability Data'!P11 | System Reliability Data'!Q11 | System Reliability Data'!R11 | System Reliability Data'!S11 | System Reliability Data'!T11 | System Reliability Data'!U11 | System Reliability Data'!V11 | System Reliability Data'!W11 | System Reliability Data'!X11 | System Reliability Data'!Y11 | System Reliability Data'!Z11 | System Reliability Data'!AA11 | System Reliability Data'!AB11 | System Reliability Data'!AC11 | System Reliability Data'!AD11 | System Reliability Data'!AE11 | System Reliability Data'!AF11 | System Reliability Data'!AG11 | System Reliability Data'!C12 | System Reliability Data'!D12 | System Reliability Data'!E12 | System Reliability Data'!F12 | System Reliability Data'!G12 | System Reliability Data'!H12 | System Reliability Data'!I12 | System Reliability Data'!J12 | System Reliability Data'!K12 | System Reliability Data'!L12 | System Reliability Data'!M12 | System Reliability Data'!N12 | System Reliability Data'!O12 | System Reliability Data'!P12 | System Reliability Data'!Q12 | System Reliability Data'!R12 | System Reliability Data'!S12 | System Reliability Data'!T12 | System Reliability Data'!U12 | System Reliability Data'!V12 | System Reliability Data'!W12 | System Reliability Data'!X12 | System Reliability Data'!Y12 | System Reliability Data'!Z12 | System Reliability Data'!AA12 | System Reliability Data'!AB12 | System Reliability Data'!AC12 | System Reliability Data'!AD12 | System Reliability Data'!AE12 | System Reliability Data'!AF12 | System Reliability Data'!AG12